ICRP ref: 4865-5595-3595

Annals of the ICRP

ICRP PUBLICATION XXX

Reference Organ Absorbed and Effective

Dose Coefficients for

Common Radiographic Examinations

Editor-in-Chief

C.H. CLEMENT

Associate Editors

T. YASUMUNE

K. NAKAMURA

Authors on behalf of ICRP

N. Petoussi-Henss, D.G. Sutton, Y. Soo Yeom, M. Zankl, K. Applegate,

D. L. Miller, H. Schlattl, J. Jansen, C. Lee, J. Li, Y. Lee

PUBLISHED FOR

The International Commission on Radiological Protection

by

Please cite this issue as ‘ICRP, 20xx. Title of the publication. ICRP Publication XXX. Ann. ICRP xx(x).’

CONTENTS

ABSTRACT ............................................................................................................................................4

MAIN POINTS	5

1.	INTRODUCTION	6

2.	THE ICRP REFERENCE PHANTOMS	11

2.1.	Adult reference computational phantoms	11

2.2.	Paediatric reference phantoms	13

3.	RADIOGRAPHIC PROJECTIONS CONSIDERED	17

3.1.	Projection selection, adult radiography	17

3.2.	Projection selection, paediatric radiography	17

3.3.	Projection definition, adult and paediatric radiography	18

4.	DETERMINATION OF DOSE COEFFICIENTS FOR MONOENERGETIC photons	21

4.1.	Monte Carlo photon transport calculation in the anthropomorphic phantoms for monoenergetic values	21

4.2.	Dose coefficients for monoenergetic photons at 1 keV intervals– Description of tables	29

5.	DOSE COEFFICIENTS FOR EXAMPLE X-RAY SPECTRA	30

6.	APPLICATION OF DOSE COEFFICIENTS	33

6.1.	Using the Bremsstrahlung spectral data to estimate organ and effective doses	33

6.2.	Using the convolution process for a user-defined spectrum	34

6.3.	Possible application of the dose coefficients	37

7.	UNCERTAINTIES AND LIMITATIONS	40

7.1.	Influence of phantoms and field size	40

7.2.	Uncertainties of dose coefficients calculated with Monte Carlo methods	41

7.3.	Uncertainties in dose estimates	41

7.4.	Limitations in interpretation	42

8.	Conclusions	44

References	46

ANNEX A.	Dosimetric quantities used in patient dosimetry in radiography	51

A.1.	Organ absorbed dose and equivalent dose.	51

A.2.	Effective dose	52

A.3.	Air kerma and associated quantities	53

A.4.	References	54

ANNEX B.	definitions of fields for the Projections considered	55

B.1.	Adult radiography	55

B.2.	Paediatric radiography	62

B.3.	Reference	77

ANNEX C.	Application of skeletal fluence-to-dose response functions for photons in Monte Carlo radiation transport codes	78

C.1.	Skeletal dosimetry method of ICRP Publication 116	78

C.2.	Refinements of the original fluence-to-dose response function sets for both adult and paediatric reference phantoms	81

C.3.	Implementation of fluence-to-dose response functions and dose enhancement factors to some Monte Carlo codes used in medical physics	81

C.4.	References	87

ANNEX D.	electronic supplement	88

Acknowledgements	89

|  | ICRP Publication XXX |  |
| --- | --- | --- |

Reference Organ and Effective Dose Coefficients for

Common Radiographic Examinations

ICRP PUBLICATION XXX

Approved by the Commission in MMMMM 20XX

Abstract–This publication presents organ absorbed dose and effective dose coefficients for patients resulting from common diagnostic radiographic examinations, calculated using computational voxel phantoms representing the ICRP reference newborn, 1-year-old, 5-year-old, 10-year-old, 15-year-old, and adult male and female. Reference imaging examinations were firstly defined to cover the most common projections of clinical practice. In this publication, these examinations are limited to the digital radiography technique that would be clinically consistent with imaging the body morphometry of the reference individuals. Monte Carlo radiation transport simulations for the reference imaging exams were performed using the radiation transport codes GEANT4 (Geometry and Tracking, version 4) and EGSnrc (Electron Gamma Shower National Research Council of Canada) to report organ absorbed dose and effective dose coefficients for each of the reference computational phantoms and for each of the relevant reference imaging exams. For quality assurance purposes, and following standard procedures developed for other ICRP publications presenting dose coefficients using reference phantoms, further spot-check calculations were performed. The Monte Carlo calculations were performed for monoenergetic radiation fields in 1 keV photon energy bins from 3 to 150 keV for adults and from 1 to 80, 100 or 120 keV for infants and children, allowing the reconstruction of dose coefficients for spectral beams. From the monoenergetic values, effective and organ absorbed dose coefficients for several x-ray spectra for the defined radiographic projections were computed using a convolution program. These organ absorbed dose coefficients are given as dose normalised to kerma-area product (KAP, PKA), in mGy Gy−1 cm−2 and to dose per air kerma free-in-air at 1 m distance from the source in units of mGy Gy−1. The effective dose coefficients are given in units of mSv Gy−1 cm−2 and mSv Gy−1, respectively. The present publication is the first of a series reporting organ absorbed and effective doses for various diagnostic x-ray modalities.

© 20YY ICRP. Published by SAGE.

Keywords: Radiography; Projections; Organ absorbed dose; Effective dose; Monte Carlo; Children; Adults; Optimisation

# MAIN POINTS

- This publication describes the ICRP approach to developing organ absorbed dose coefficients for radiographic imaging for a range of examinations commonly performed on adults and children. This is the first set of such coefficients published by the commission and as such will be of benefit to a wide range of practitioners and national authorities. The publication is the first of a series reporting organ absorbed and effective doses for various diagnostic x-ray modalities.

- Monte Carlo radiation transport simulations on the reference voxel computational phantoms of the ICRP male and female new-born, 1-year-old, 5-year-old, 10-year-old, 15-year-old, and adult were performed for the most frequent radiographic examinations, considering good radiographic practice and standard conditions.

- Calculations were carried out in 1 keV photon energy bins from 3 to 150 keV for adults and from 1 to 80, 100, or 120 keV for infants and children, depending on the examination and phantom and Monte Carlo code used.

- Data are provided in 1 keV bins as dose per fluence at 1 m distance from the source. The results can then be convolved with any x-ray spectral distribution that a user wishes to choose to obtain spectral dose coefficients.

- Dose coefficients are provided for some ‘typical’ examples of spectral beams and examinations, 384 in total for adults and 496 for paediatric, at 50 to 130 kV and filtration of 2.5, 3.0, 3.5 mm Al and for paediatric cases additionally for 3.0 mm Al + 0.1 mm Cu. These coefficients are reported as organ absorbed and effective doses per Kerma Area Product (KAP, PKA), and per air kerma free-in-air at 1 m distance from the source.

INTRODUCTION

- X-ray imaging procedures make the largest contribution to human exposure to ionising radiation from artificial sources. Radiography (excluding dental radiography) accounts for 63% of all radiological procedures worldwide and 23% of the annual collective effective dose from medical exposures (UNSCEAR, 2022).

All x-ray examinations may carry an associated radiation risk that, although not large, must be considered when patients are imaged. The benefits to the patient undergoing a properly justified and optimised radiological procedure should outweigh the risk resulting from the radiation exposure. In medicine, the requirement is to manage the radiation dose to the patient to be commensurate with the medical purpose. The goal is to use the appropriate dose to obtain the desired image or desired therapy. Thus, an important component of the justification and optimisation process is the availability of information on the doses that patients are receiving coupled with an understanding of whether these doses are reasonable in the context of the examination being performed (ICRP, 2007a).

- One way to obtain information on patient doses is to use metrics that can be easily measured directly such as kerma-area product (KAP, PKA). However, there are many occasions in day-to-day practice in which the availability of prior estimates of doses based on simulations of the examination employing human computational phantoms (also referred by many authors as “models”) and computer codes simulating the transport of radiation in different media are useful. Daily decisions for justifying individual patient imaging exposures, or for optimising protection through selecting the most appropriate technique, require approximate estimates of dose that can be used to judge risks to health. Generic values of organ absorbed dose and effective dose provide a straightforward tool with enough information about general radiation exposure levels linked to detriment for the purpose of making these everyday decisions (ICRP, 2021). One example, as pointed out in Publication 147, is that when two different x-ray imaging modalities are considered, the primary factor determining the choice will be the potential benefit to the patient, but comparison of effective or organ doses can be a secondary factor in guiding a referral test selection. Another example would be the inclusion of effective or organ dose data in the evaluation of the impact of changing a technique factor such as tube potential when updating a protocol. Further examples include the evaluation of the effect of added filtration in paediatric radiology, the investigation of the effect of novel filtration on organ absorbed and effective dose and the use of organ dose data when deciding whether to employ a particular radiographic projection or not.

- Unintended exposures of patients in radiographic procedures can be assessed using effective and organ doses derived from simulations employing numerical methods. These can provide sufficient information for the incident investigation and report and inform decisions on requirements for more detailed assessments (ICRP, 2021). A standardised methodology will aid national and international assessments and comparisons of such doses.

- Variations in representative patient doses resulting from differences in equipment, radiographic technique and other factors existing in different countries can be very instructive in radiation protection practice. However, there are differences of up to 25% in some data which can be traced to the use of different phantoms and dose coefficients (ICRP, 2021). Some of the differing methods for calculation of organ and effective doses are described in Paras. 8–13. A standardised methodology for such dose calculations as that offered in the present publication will enable even more meaningful comparisons and learning.

- Before a research proposal involving the use of ionising radiation is approved, an evaluation of possible detriment to the individuals involved must be made and recorded (ICRP, 1992). The availability of a standardised approach to the estimation of patient organ and effective doses will ensure that a consistent approach can be taken to dose estimation, bearing in mind that when considering potential radiation-related risks in research subjects, allowance should be made for age, sex, and health status.

There are increasing demands from patients, families, medical professionals and relevant regulatory agencies to document patient-specific exposures to diagnostic medical imaging procedures. Ethical and professional considerations around accountability, transparency and patient-centredness emphasise the importance of these requirements (ICRP, 2024a). As a result, various tables and software tools have been developed by various authors which are built upon extensive libraries of pre-calculated dose coefficients obtained using computational phantoms and Monte Carlo radiation transport codes.

Coefficients between absorbed or equivalent dose to organs at risk and measurable quantities commonly used in x-ray radiographic diagnosis have been calculated employing Monte Carlo methods since the 1980s, mainly in conjunction with mathematical MIRD-type phantoms initially developed at the Medical Internal Radiation Dose (MIRD) Committee of the Society of Nuclear Medicine in the United States. In the middle of the 1970s, Rosenstein (1976) first published tabulations of organ doses in the MIRD phantom (Snyder et al., 1969) for diagnostic radiography. Since then, compilations of organ and effective dose coefficients for the most common (and some other) examinations have been published using the Cristy and Eckerman (1987) MIRD-type phantoms of adults and children, the latter derived to represent infants and children of various ages, all hermaphrodite, and the sex-specific ADAM and EVA adult phantoms (Kramer et al., 1982). For these phantoms, the organ masses and volumes conformed with the ICRP data of the former Reference Man (ICRP, 1975). These dose coefficients relate the quantities of interest to measurable quantities, such as incident air kerma, entrance air kerma on the surface of the patient or kerma-area product.

Examples of published coefficients relating to radiography include those reported in Jones and Wall (1985), Rosenstein et al. (Rosenstein et al., 1979; Rosenstein, 1988), Drexler et al. (Drexler et al., 1985, 1990; Drexler et al., 1993), Le Heron (1992), Hart et al. (Hart et al., 1994b, 1996a, b), Schultz et al. (1994), and Petoussi-Henss et al. (1995).

Until the middle of the 1990s, the results of these studies were usually published in reports containing extensive tables with conversion coefficients for the most frequent x-ray examinations. One of the earliest examples of program suites to interrogate and present this data was Xdose and Childdose, developed by Le Heron and based on tabulated coefficients in Reports 262 (Hart et al., 1994b, a) and 279 (Hart et al., 1996a, b) of National Radiological Protection Board. Later, stand-alone software tools for absorbed dose calculation in x-ray diagnosis began to appear. One of the first of these was published by Rannikko (1997) who developed a computer program for organ absorbed dose calculations with a size- and sex-adjustable phantom. This method utilised analytical functions, based on Monte Carlo generated depth-dose distributions in water.

In 1998, Servomaa and Tapiovaara (Servomaa and Tapiovaara, 1998) produced the program ‘A Monte Carlo program for calculating patient doses in medical x-ray examinations (PCXMC)’, which is distributed by the Radiation and Nuclear Safety Authority in Finland (Tapiovaara and Siiskonen, 2008). PCXMC is a Monte Carlo computer code that uses the hermaphrodite adult and paediatric MIRD-type phantoms of Cristy and Eckerman (1987) and allows for application of scaling factors to modify the size of the phantoms as required. PCXMC functionality includes the ability to calculate organ and tissue absorbed doses, effective dose as per the ICRP Publication 103 (2007) regimen and cancer risk using the Seventh Committee on Biological Effects of Ionizing Radiation (BEIR VII) model (2006). PCXMC does not use pre-calculated data but carries out a Monte Carlo calculation for the exposure conditions defined by the user. Projections are specified by the user, but could be pre-defined for batch or comparative purposes if required. Further citations on dose coefficients in conventional radiography can be found in Report 74 of the International. Commission on Radiation Units and Measurements (ICRU) (2005) and in Seidenbusch et al. (2019).

The development of tomographic or voxel-based phantoms began in the 1980s in order to address issues raised by the anatomical limitations of the mathematical MIRD-type phantoms, and several phantoms have been proposed over time. Studies employing voxel phantoms for Monte Carlo calculations to determine organ doses in radiography include (Veit and Zankl, 1992; Zankl, 1992; Veit and Zankl, 1993; Zankl, 1993; Petoussi-Henss et al., 1995; Winslow et al., 2004).

In 2008 Kramer et al. developed a Monte Carlo based software tool called CALDose X (Kramer et al., 2008) that contains within its functionality the ability to calculate organ and tissue absorbed doses using the voxel phantoms FAX06 and MAX06 (Kramer et al., 2006) which have standard i.e. reference sizes as described by ICRP Publication 89 (2002). The functionality of the tool also included the assessment of cancer risk based on the factors presented in ICRP Publication 103 and BEIR VII model (2006). CALDose_X 5.0 is the current version of the software program for calculating organ absorbed doses and radiological risks using the ICRP Publication 89 – based mesh phantoms FASH and MASH (Cassola et al., 2010; Kramer et al., 2010). The online tool allows the user to select one of 10 phantoms, four adult and six paediatric, on which the calculation can be based. The adult phantoms are further subdivided to allow age and body mass index to be selected.

- For many years, ICRP has produced reference dose coefficients for common diagnostic nuclear medicine procedures (ICRP, 1987, 1991a, 1998, 2008, 2015b). However, ICRP has not to date provided reference dose coefficients for x-ray imaging procedures, and consequently different methodologies and phantoms are used to convert measurements to estimates of effective dose or some surrogate of effective dose. These calculations necessarily rely on disparate published data based on the use of older stylised hermaphrodite phantoms that are not in alignment with the most recent ICRP reference phantoms. In addition, different computational methods for radiation transport have been used to report organ absorbed and equivalent doses from which the effective dose is computed. The availability of ICRP reference organ and effective dose coefficients will, therefore, facilitate the work of national and international authorities responsible for such calculations.

- Organ doses from radiographic procedures can be assessed using Monte Carlo simulations and computational phantoms, in the form of dose coefficients that relate measured KAP (PKA) or air kerma to organ or effective dose. As stated above, most of the existing lists of organ doses and relevant software are based on stylised, mathematical MIRD-type phantoms. In the last few years dose coefficients using voxel computational phantoms have become available (ICRP, 2010, 2013, 2015a, 2016a, b, 2017, 2019, 2020b). The voxel phantoms, constructed using high resolution medical images, present a significant advance towards more realistic representation of the human body. Previous studies have shown that, for some examinations, differences in dose coefficients do occur between the different types of phantoms (voxel or MIRD) and can be attributed to the different amount of shielding of an organ, depending on the position and mutual overlapping of these organs (Zankl et al., 2002). Individual dose differences for voxel phantoms are mainly due to the dependence of x-ray absorption on patient diameter but may also be due to in field organ size, shape, and positioning. Computations of dose conversion coefficients for routine examinations have shown significant differences for individual organs between different voxel phantoms but also between the ICRP Reference Computational Phantoms and the MIRD type reference phantoms used so far (Petoussi-Henss et al., 2006).

- This publication describes the ICRP approach to developing organ absorbed dose conversion coefficients for radiographic imaging.  The coefficients have been produced for the adult male and female ICRP reference voxel phantoms (ICRP, 2009) and the suite of ICRP reference paediatric voxel phantoms (ICRP, 2020a). The phantoms are briefly described in Section 2 of this publication.

- Radiographic examinations for which coefficients have been developed were chosen based on their frequency as described by United Nations Scientific Committee on the Effects of Atomic Radiation (UNSCEAR) (UNSCEAR, 2010) and National Council on Radiation Protection and Measurements (NCRP) (NCRP, 2019). The radiographic examinations selected for paediatric radiography are those that are either commonly performed examinations, as for adult radiography, or those that result in high exposures or exposures to the more radiosensitive organs. For each examination, relevant projections were selected. Dental and mammographic examinations were not considered for either adults or paediatrics. The methodology for examination selection and projection definition is described in Section 3.

The detail of the Monte Carlo photon transport calculations used to determine organ and effective dose coefficients is presented in Section 4. Two sets of coefficients are provided for each projection. In the first set the data is provided in 1 keV energy bins. The coefficients given in each of the monoenergetic energy bins are given as absorbed dose normalised to fluence at a reference plane defined at 1m from the source. Note that the fluence at the reference plane is always estimated in absence of the phantom. Organ and effective dose coefficients for any user defined x-ray spectra can be then generated using a simple convolution. This first set is for those users who wish to tailor the results to any given beam quality – i.e. allowing for any combination of applied tube potential and filtration.

For those users who do not need such fine tuning, organ absorbed dose coefficients are provided for selected bremsstrahlung spectra between 50 and 120 kV and total filtration between 2.5 and 3.5 mm Al as well as an additional 0.1 mm Cu in the case of paediatric projections. The coefficients are normalised to KAP (PKA) (Gy cm2), air kerma free-in-air at 1 m (Gy) and fluence at 1 m (cm−2) from the x-ray tube.  A description of the method used to obtain these dose coefficients, including the convolution method, can be found in Section 5.

Effective dose, E, is defined in ICRP Publication 103 (ICRP, 2007b) using the equation:

- (1.1)

- where   HT  M and HT  F are the equivalent doses to the tissues or organs T of the Reference Male and Female, respectively, and wT is the tissue weighting factor for target tissue T, with wT  = 1. Effective dose is thus a sex averaged quantity. This definition is valid for all ICRP reference ages. This publication provides organ absorbed dose coefficients for both male and female phantoms. It also provides, for each examination, a value of the coefficient for either  wT  ×HT  M  or   wT  ×HT  F, depending on whether the examination is performed on the male or female phantom. The effective dose coefficient for an examination can be obtained by taking the average of the two. For ease of reproduction and to avoid possible confusion, the two quantities are given the nomenclature E103, xxM or, E103, xxF where xx refers to the age of the phantom being used and M or F signify male or female. For example, E103, AM  refers to the coefficient of the quantity wT  ×HT  M  resulting from an examination on an adult male phantom and  E103, 01F refers to the coefficient of the quantity wT  ×HT  Fresulting from an examination on a 1- year-old female phantom.

All the coefficients generated are provided in the electronic annex to this publication. A separate dose viewer is provided to enable users to quickly access the results pertaining to the selected bremsstrahlung spectra.

The target audience for this publication includes all those who have an interest in patient dosimetry and optimisation, including national authorities responsible for dose calculations, medical physicists, research scientists, radiologists, radiographers and other radiological practitioners. The publication is the first of a series reporting organ absorbed and effective doses for a range of diagnostic x-ray modalities including radiography, computed tomography, fluoroscopically guided interventional radiology and diagnostic paediatric fluoroscopy. The work will also be extended to consider the case of pregnant and non-reference patients.

THE ICRP REFERENCE PHANTOMS

Adult reference computational phantoms

- Computational phantoms of the human body, together with radiation transport codes, have been employed for many years in the evaluation of organ dose coefficients in occupational, environmental and medical radiation protection. During the last two decades, voxel phantoms that are derived mostly from (whole-body) medical image data of real persons instead of the older stylised computational body phantoms have been introduced. A voxel (volume element) is a rectangular cuboid specifying the organ or tissue – each organ/tissue consists of a large number of voxels. A voxel phantom (or model) is a three-dimensional representation of the human body in the form of an array of identification numbers, arranged in slices, rows, and columns. Each entry in this array represents a tissue voxel; organs are then represented by those voxels having the same identification number and are spatially arranged to represent the organ volume. More information on voxel phantoms, their development and use can be found elsewhere (Xu and Eckerman, 2010).

- For the computation of organ absorbed doses, the adult male and female reference computational phantoms, representing the ICRP Reference Adult Male and Reference Adult Female are used in this publication. These phantoms were adopted by ICRP and ICRU as the phantoms for the computation of the ICRP reference dose coefficients and are extensively described in Publication 110 (ICRP, 2009a). The reference computational phantoms are based on human computed tomographic (CT) data and were constructed by modifying the voxel phantoms (Zankl and Wittmann, 2001; Zankl et al., 2005) of two individuals (Golem and Laura) whose body height and mass closely resembled the reference data given in Publication 89 (ICRP, 2002) on the Reference Male and Reference Female. The reference values for standing height and body mass of the ICRP reference individuals can be seen in Table 2.1. The organ masses of both phantoms were adjusted to the reference data with high precision, without significantly altering their realistic anatomy. The phantoms contain all target regions relevant to the assessment of human exposure to ionising radiation for radiological protection purposes, including all tissues and organs that contribute to the protection quantity effective dose (ICRP, 2007b).

Table 2.1. Reference values for standing height and body mass for the ICRP reference individuals (ICRP, 2002).

|  | Height (cm) |  | Mass (kg) |  |
| --- | --- | --- | --- | --- |
|  | Male | Female | Male | Female |
| Newborn | 51 | 51 | 3.5 | 3.5 |
| 1 year | 76 | 76 | 10 | 10 |
| 5 years | 109 | 109 | 19 | 19 |
| 10 years | 138 | 138 | 32 | 32 |
| 15 years | 167 | 161 | 56 | 53 |
| Adult | 176 | 163 | 73 | 60 |

- The male reference computational phantom consists of approximately 1.95 million tissue voxels (excluding voxels representing the surrounding vacuum) each with a slice thickness (corresponding to the voxel height) of 8.0 mm and an in-plane resolution (i.e. voxel width and depth) of 2.137 mm, corresponding to a voxel volume of 36.54 mm3. The number of slices is 220, resulting in a body height of 1.76 m and total body mass of 73 kg. The female reference computational phantom consists of approximately 3.89 million tissue voxels, each with a slice thickness of 4.84 mm and an in-plane resolution of 1.775 mm, corresponding to a voxel volume of 15.25 mm3. The number of slices is 346, and thus the body height is 1.63 m and the total body mass is 60 kg. The number of individually segmented structures is 136 in each phantom, and 53 different tissue compositions have been assigned to them. The various tissue compositions reflect both the elemental composition of the tissue parenchyma (ICRU, 1992) and each organ’s blood content (ICRP, 2002) (i.e. organ composition inclusive of blood). Fig. 2.1 shows frontal (coronal) views of the male (left) and female (right) computational phantom, respectively.

- Due to the limited resolution of the source tomographic data upon which these phantoms were constructed, and the very small dimensions of some of the ICRP defined source and target regions, not all tissues are explicitly represented. In the skeleton, for example, the target tissues of interest are the haematopoietically active bone marrow located within the marrow cavities of spongiosa, as well as the endosteal layer lining the surfaces of the bone trabeculae and the inner surfaces of the medullary cavities of the long bones (currently assumed to be 50 μm in thickness). Due to their small dimensions, these two target tissues are incorporated as homogeneous constituents of spongiosa within the reference phantoms. At lower energies of photon and neutrons, secondary charged-particle equilibrium is not fully established in these tissue regions over certain energy ranges. Consequently, more refined techniques for accounting for these effects in skeletal dosimetry are used in this publication. A detailed description of the skeletal dosimetry can be found in Publications116 (ICRP, 2010, 2020b) and in Annex C of this publication.

- Since the ICRP reference computational phantoms, both adult and paediatric (as described in the next section), have been constructed from CT data of real patients, they represent the reference patient in a supine position. That means that the abdomen is flatter than in a standing person, the abdominal organs are shifted upwards towards the chest, the lungs are compressed and the curvature of the spine is slightly different than the one of a standing person (ICRP, 2009). For the purposes of this reference modelling, an assumption must be made that the anatomy and organ location of those phantoms do not change when they are assumed to be in an upright position, for example during a chest postero-anterior (PA) examination. A study on the effects of posture on organ dose coefficients from some typical idealized external exposures for a person in a supine position and an upright position showed agreement within 2–20%, for photon energies above 50 keV  (Sato et al., 2008). For energies below 50 keV, some organs could exhibit larger differences up to a factor of approximately 2, depending on the projection geometry (i.e. AP, PA, LAT etc.) and the potential shift of the organ in question when the posture changes. For example, the absorbed dose to the liver and stomach for an idealized lateral projections will be higher for a phantom which is constructed from data of a person in an upright position than for a phantom constructed from data obtained in supine position. For brain and oesophagus, for example, these variations are mostly below 10%, even at low energies. However, the effective dose was found to be less sensitive to posture for all energies. Thus, it can be concluded that the dosimetric impact of the person’s position is limited, and the organ position of the voxel phantoms in the supine position is acceptable for the applications intended.

Fig. 2.1. Images of the adult male (left) and adult female (right) voxel reference computational phantoms (ICRP, 2009a). The following organs can be identified by different surface colours: breast, colon, eyes, lungs, liver, pancreas, salivary glands, small intestine, stomach, thyroid and urinary bladder, teeth. Muscle and adipose tissue are semi-transparent.

Paediatric reference phantoms

- The series of ten ICRP paediatric computational phantoms, described in Publication 143 (ICRP, 2020a), are the following:

- Newborn – Male and Female;

- 1-year-old – Male and Female;

- 5-year-old – Male and Female;

- 10-year-old – Male and Female; and

- 15-year-old – Male and Female.

- These phantoms were derived from a series of computational phantoms developed originally at the University of Florida (UF) and later in collaboration with the National Cancer Institute (NCI). Consequently, the original phantoms from which the ICRP paediatric reference phantoms were derived are presently referred to as the UF/NCI phantom series (Lee et al., 2010). The UF/NCI phantoms are of a third generation of phantom technology – hybrid phantoms – in which the outer body contour and internal organ surfaces are modelled using the computer animation techniques of either polygon mesh or NURBS (Non-uniform rational B-spline) surfaces depending on the complexity of anatomical structures. The polygon meshes are a cluster of adjacent triangles, while the NURBS surfaces are a cluster of three-dimensional (3D) points in space between which a surface is interpolated. Over the past few years, it has become possible to use computational phantoms in these two formats directly in some Monte Carlo transport codes as necessary. However, most transport codes still utilise a voxel format, composed of tiny rectangular cuboids. A computer script was therefore used to convert the UF/NCI hybrid phantoms from their surface format to a voxel format for Monte Carlo simulations. These ICRP paediatric reference  phantoms in voxel format (ICRP, 2020a) are thus consistent with the format of the ICRP Publication 110 adult reference phantoms (ICRP, 2009a).

- As noted in Lee et al. (2010), the UF/NCI series of phantoms are traceable directly to real human anatomy. The newborn phantom is based upon full-body CT imaging of a 6-day female cadaver, while the remainder of the paediatric series (1-year-old to 15-year-old phantoms) are based upon combinations of head CT images, full torso CT images, and rescaled CT-based images of adult arms and legs. The latter approach was necessary since medical imaging of children rarely include the arms within the imaging field. For computed tomography sources employed in the development of these phantoms the reader is referred to Table 3.1 of Publication 143 (ICRP, 2020). From the initial series of segmented images, various anatomic sources were used to resize both internal organ anatomy and exterior body size. The most important document used was Publication 89 providing internal organ masses, and values of total mass and height – see Table 2.1. Additional reference sources were used to target various body circumferential dimensions not given as reference values in Publication 89 (ICRP, 2002). The final series of the UF/NCI hybrid phantoms thus fully conforms to reference anatomy specified by the Commission and are fully traceable to real human CT anatomy. In this manner, the ICRP paediatric reference phantom series is fully compatible with the process used to develop the Publication 110 phantoms, which also were based upon segmentation of real human CT anatomy.

- Another unique feature of the ICRP paediatric reference phantoms (and of the UF/NCI phantoms), is their explicit coupling to microCT-based models of skeletal dosimetry. As noted in Hough et al. (2011) and in Johnson et al. (2011), an extensive series of cadaver bone harvests, ex-vivo skeletal CT imaging, and ex-vivo spongiosa core microCT imaging, were used to construct models of tissue dosimetry in the skeletons of the ICRP adult reference phantoms. This work is more formally described in Annexes D and E of Publication 116 (ICRP, 2013). The paediatric series of ICRP reference phantoms similarly have accompanying models of skeletal anatomy at both its macrostructural and microstructural dimensions. Thus, the methods proposed in Publication 116 (ICRP, 2013) for external photons and neutrons, and in Publication 133 (ICRP, 2016b) for internal beta and alpha particles, as well as photons, for the ICRP Publication 110 adult reference phantoms, are available in reporting skeletal tissue dosimetry to paediatric phantoms of the reference series.

- In the ICRP implementation (ICRP, 2020), the following further refinements have been made to the UF/NCI series of paediatric phantoms (Pafundi, 2009; Wayson, 2012):

- a sub-segmented skeletal model to include regions of cortical bone, spongiosa, and medullary marrow;

- photon dose response functions for internal and external photon dosimetry to active marrow and endosteum;

- new age-specific regional blood distribution model (Wayson, 2012);

- corresponding model of the major blood vessels;

- separation of subcutaneous fat and skeletal muscle from what was formerly residual soft tissues (RST); and

- inclusion of lymph nodes – see Lee et al. (2013).

- The series of ICRP paediatric reference phantoms are in voxel format and fully conform to the framework established in Publication 110 (ICRP, 2009a). All organs and tissue structures modelled in the ICRP Publication 110 reference adult male and female phantoms are included in the series of ICRP paediatric reference phantoms with consistent identification (ID) numbers (see Annex A of Publication 110). Representative images of the ICRP reference paediatric series are given in Fig. 2.2.

Fig. 2.2. Series of ICRP paediatric reference phantoms. The male and female newborn, 1-, 5-, and 10-year-old phantoms are anatomically identical, except for their gonads and urinary bladder (ICRP, 2020a).

- While the ICRP paediatric reference phantoms are identical in format to the ICRP Publication 110 (ICRP, 2009a) adult reference phantoms regarding the ID numbers of the various source and target organs, one important difference is the voxel resolution. One of the main advantages of hybrid phantom technology is that in the conversion of the polygon mesh/NURBS format of the phantom to the voxel format of that same anatomy one can select the voxel resolution. Table 2.2 tabulates the voxel resolutions, array size, and total matrix size finally adopted for the ICRP paediatric reference phantoms. The phantom dimensions ensure continuous conformance with the 1% matching of reference masses as well as conformance to reference total skin thickness as given by data in Publication 89. It is noted that for the newborn phantom, the voxels are cubic (i.e. same dimension in x-, y-, and z-directions), while rectangular prisms with larger z-dimension than x,y-dimensions were adopted for the older phantoms so as to keep the matrix size constant at approximately 55 million voxels in total. In contrast, the ICRP Publication 110 adult male and female phantoms have total matrix sizes of 1.9 and 3.9 million voxels, respectively. The need for higher resolution is to preserve organ anatomy in the smaller anatomy of the paediatric reference individuals.

Table 2.2. Voxel resolution, voxel number, and total matrix size of the ICRP paediatric reference phantom series.

| Phantom | Resolution (mm) |  |  | Array size |  |  | Matrix size (million) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | X | Y | Z | X | Y | Z |  |
| Newborn, Male, Female | 0.663 | 0.663 | 0.663 | 350 | 215 | 720 | 54.2 |
| 1-year-old Male, Female | 0.663 | 0.663 | 1.400 | 396 | 253 | 550 | 55.1 |
| 5-year-old Male, Female | 0.850 | 0.850 | 1.928 | 424 | 235 | 576 | 57.4 |
| 10-year Male-old, Female | 0.990 | 0.990 | 2.425 | 432 | 226 | 580 | 56.6 |
| 15-year-old Male | 1.250 | 1.250 | 2.832 | 416 | 230 | 590 | 56.5 |
| 15-year-old Female | 1.200 | 1.100 | 2.828 | 408 | 242 | 574 | 56.7 |

RADIOGRAPHIC PROJECTIONS CONSIDERED

Projection selection, adult radiography

- The radiographic projections used for adult radiography were selected on the basis of annual examination frequency in the UK (alone), Europe (including UK), the USA and UNSCEAR Health Care Level 1 countries (Hart et al., 2010; UNSCEAR, 2010; European Commission, 2014; NCRP, 2019). The six most common types of adult examination were chosen, namely Chest/Thorax, Pelvis & Hip, Abdomen, Lumbar Spine, Cervical Spine and Thoracic Spine. Table 3.1 shows their frequency expressed in terms of examinations per 1,000 population per year. Exposures involving extremities were not considered because of their low contribution to effective dose. The exact projections modelled for each of the examination types are shown in Table 3.2.

Table 3.1 Frequency of radiographic examinations per 1000 adult population per year (in decreasing order)

| Examination Type | UK* | European Average† | United Statesǂ | UNSCEAR HCL 1§ |
| --- | --- | --- | --- | --- |
| Chest/ Thorax | 146.7 | 194 | 341.8 | 168 |
| Pelvis & hip | 39.0 | 48.7 | 63.2 | 40 |
| Abdomen | 20.1 | 22.5 | 37.9 | 45 |
| Lumbar spine (inc. LSJ) | 14.9 | 33.6 | 34.8 | 31 |
| Cervical spine | 9.3 | 16.9 | 15.1 | 32 |
| Thoracic spine | 4.4 | 9.8 | 7.8 | 16 |

LSJ, Lumbar-Sacral Joint; HCL, Health Care Level.

* Hart et al., 2010.

† European Commission, 2014.

ǂ NCRP, 2019.

§ UNSCEAR, 2010.

Table 3.2 Adult projections modelled.

| Examination Type | Projections Modelled |
| --- | --- |
| Chest/ Thorax | PA, AP, Left & Right Lat |
| Pelvis & hip | AP |
| Abdomen | AP |
| Lumbar spine (inc. LSJ) | AP, LLat, RLat, RObl |
| Cervical spine | AP, LLat, RLat |
| Thoracic spine | AP, RLat, LLat |

PA, posterior-anterior; AP, anterior-posterior; Lat, lateral; Robl, Right Oblique; RLat, Right Lateral; LLat, Left Lateral; LSJ, Lumbar-Sacral Joint.

Projection selection, paediatric radiography

- The radiographic projections selected for paediatric radiography were those that were either commonly performed examinations (Dorfman et al., 2011; EuropeanCommission, 2018) similar to adult radiography, or those that resulted in high exposures or exposures to radiosensitive organs. Therefore, the skull and scoliosis full-spine radiographs are included because they are both common in infants and children and they expose these patients to higher doses than typical single body part exams. In practice, the number of projections for each examination may vary with the age of the infant/child as well as geographic location, available resources, and clinical indication, as with adult radiography. The exact projections modelled are shown in Table 3.3.

Table 3.3 Paediatric projections modelled.

| Examination Type | Projections Modelled |
| --- | --- |
| Chest | PA and AP |
| Pelvis | AP |
| Abdomen | AP |
| Lumbar Spine | AP, LLat, RLat |
| Thoraco-Lumbar Spine (newborn, 1year only) | RLat, LLat |
| Scoliosis | AP (newborn, 1 year only), PA (all other ages), RLat, LLat |
| Skull | AP, PA, RLat, LLat |

PA, posterior-anterior; AP, anterior-posterior; Lat, lateral; RLat, Right Lateral; LLat, Left Lateral.

Projection definition, adult and paediatric radiography

- Whilst it is acknowledged that there is no ‘definitive projection’ for any examination, all projections modelled were considered to be examples of a part of the process of optimisation, or good practice and technique. The projections used in the simulations were defined using an iterative process as shown in Fig. 3.1. Typical field sizes and positioning for each projection were obtained initially from a standard textbook of radiography, intended to teach student radiographers the proper way to obtain radiographs (Whitley et al., 2015). The information was then used, in conjunction with expert clinical input, to define initial positioning of the irradiation field on the phantom.

- For defining the field borders with respect to the phantoms, information on the rectangular cuboids containing the organs under consideration was used, i.e. the minimum and maximum columns, rows and slabs occupied by the respective organs, together with the voxel dimensions. If specified in the geometry description, additional margins were added. For example, in the abdominal radiograph, for a position ‘1–2 cm above dome of diaphragm’, 1.5 cm was added to the topmost coordinate of the liver. In this way, the minimum and maximum z-coordinates to be covered by the field were evaluated, and thus the field height and centre, where the latter marks the z-coordinate of the radiation source. Next, the maximum extensions of the slab were assessed where the source z-coordinate is located. For anterior-posterior (AP) and PA projections, the minimum and maximum rows of that slice were assessed and for lateral projections, the minimum and maximum columns. These mark the entrance and exit points of the central beam with respect to the body. If use of an anti-scatter grid was assumed, the image receptor plane was assumed to be 10 cm away from the beam exit point; if no grid was to be considered, the exit point marked the location of the image receptor plane. The source coordinate was then assumed at the focus-to-receptor distance on the opposite side of the body. For the lateral field margins, the same method was applied as for the superior and inferior margins, i.e. use of the rectangular cuboid containing the organs considered and adding margins if needed. Thus, the field width and centre were assessed, where the centre marks the third source coordinate. The field size determined was assumed to be at the centre of the phantom, in a plane between the beam entrance and exit points into and from the body. Similarly, the irradiation fields shown on the phantoms at Annex B are at the centre of the phantoms.

- The position of each projection was then assessed by two experienced radiologists and positioning and field definition amended until there was agreement between them that each one was representative of good technique. Whilst the radiologists had a good understanding of what the radiographic image should contain, mapping that image to the mid-coronal plane of the phantom was sometimes difficult and was responsible for most of the iterations in the amendment phase depicted in Fig. 3.1.

- For graphical representation of the radiation fields and full details of their sizes and positioning, as well as anatomical landmarks, see Annex B.

Fig. 3.1. Flow diagram showing the process involved in the definition of each radiographic projection.

To obtain the dose coefficients for this publication, calculations were carried out assuming irradiation of the phantoms placed in vacuum, by point source, collimated beams. It should be noted that no collimators are simulated: the ‘collimation’ is completely idealised, and allows only photons coming from the isotropic point source that hit the phantom inside the rectangular field borders assumed to represent the radiographic exposures. The implication of this assumption is considered in Section 6.3.3. As an example, Fig. 3.2 shows schematically the exposure for a PA chest examination of the reference adult male. Details of the Monte Carlo calculation methodology can be found in Section 4.

Fig. 3.2. Radiographic exposure of the chest of the adult male (AM) reference phantom from posterior-anterior (PA) direction, indicating relevant quantities. Front view: the larger rectangle (in grey, dotted) represents the field size at the detector plane, the smaller rectangle (blue) represents the field size at the reference plane. Lateral view: the reference plane (at 100 cm from the source (red, dotted line) and the position in the centre of the phantom at which the field is defined (see Annex B) are shown. FDD, Focus- to-Detector Distance; SDD, Skin-to-Detector Distance.

DETERMINATION OF DOSE COEFFICIENTS FOR MONOENERGETIC photons

- A ‘dose (conversion) coefficient’, c, relates a dosimetric quantity to some other quantity, i.e. the normalisation quantity, which can be readily measured or calculated in the clinical situation. For radiography of adults and children, the specified dosimetric quantities are the organ absorbed dose, DT, and Effective dose, E. The air kerma–area product, KAP (PKA), air kerma free-in-air at a specified distance, Ka, the incident air kerma, Ka,i, or the entrance surface air kerma, Ka,e, are used as normalisation quantities.

Monte Carlo photon transport calculation in the anthropomorphic phantoms for monoenergetic values

Table 4.1 shows the examinations that were simulated. For each of these examinations, calculations involved the computation of organ absorbed dose coefficients in each sex-age-specific phantom. Particle transport calculations were performed with the EGSnrc code for the adults and GEANT4 for the paediatric cases. For validation purposes, spot check calculations were performed with EGSnrc for a selection of paediatric cases and with GEANT4 for a selection of adult reference phantoms and exposures. Table 4.2 summarises the details of the methodology used for the Monte Carlo calculations of the dose coefficients.

- During radiographic examinations, the arms of the patient are either alongside the body (causing attenuation and scattering of the x-ray beam), above the head or positioned in a way that enhances the image as for example, for a chest PA examination, when the hands are placed at the patient’s side at waist level, usually with palms out, which results in flexion at the elbow and moves the arms away from the chest. Newborn and 1-year-old patients cannot cooperate, thus for these two latter ages of patients, only for the lateral spine examinations are the arms kept out of the field since these would obscure the structures being examined.

- The ICRP reference phantoms – adult and paediatric – have their arms alongside the body. These are not easily movable, but for simulations of the projections when the arms are outside the beam, these could be removed by replacing the arm tissues simply with vacuum (see Fig. 4.1) noting that the shoulder tissues remain in order to simulate the arms being held in front of the chest or up above the chest). The involved tissues of the arms are skin, adipose tissue, muscle, lymph nodes, blood, cartilage and bones.

- Table 4.1 also shows whether the simulations were performed with or without the arms of the phantoms. It should be noted that for calculating the respective dose coefficients, the original masses of all organs of the phantoms were used, i.e. inclusive arms. This is to allow for the fact that the arms of the phantom, although removed for the simulations, in reality are there and the risk, for example, of the skin, is associated to the tissue weighting factor, wT, which corresponds to the whole organ, i.e. the skin over the whole body.

Fig. 4.1. Series of the adult and paediatric reference voxel phantoms with their arms removed. For the newborn, 1-,5-, and 10-year-old, male phantoms are only shown. M, male; F, female.

Table 4.1. List of the simulated examinations, with the indication if these were performed with or without the arms of the phantoms.

| Examination | Newborn | 1-year old | 5-year old | 10-year old | 15-year old | Adult |
| --- | --- | --- | --- | --- | --- | --- |
| Chest PA | N/A | N/A | without | without | without | without |
| Chest AP | with | with | with | with | with | with |
| Chest Lat | N/A | N/A | N/A | N/A | N/A | without |
| Pelvis AP | with | with | without | without | without | without |
| Abdomen AP | with | with | without | without | without | without |
| Lumbar spine AP | with | with | with | with | with | with |
| Lumbar spine Lat | without | without | without | without | without | without |
| Lumbar spine oblique | N/A | N/A | N/A | N/A | N/A | without |
| Cervical spine AP | N/A | N/A | N/A | N/A | N/A | with |
| Cervical spine Lat | N/A | N/A | N/A | N/A | N/A | without |
| Thoracic spine AP | N/A | N/A | N/A | N/A | N/A | with |
| Thoracic spine Lat | N/A | N/A | N/A | N/A | N/A | without |
| Thoraco-lumbar spine Lat | without | without | N/A | N/A | N/A | N/A |
| Scoliosis AP | with | with | N/A | N/A | N/A | N/A |
| Scoliosis PA | N/A | N/A | without | without | without | N/A |
| Scoliosis Lat | without | without | without | without | without | N/A |
| Skull PA | with | with | with | with | with | N/A |
| Skull Lat | with | with | with | with | with | N/A. |

PA, posterior-anterior; AP, anterior-posterior; Lat, lateral (Right LAT and Left LAT); N/A, not applicable.

Table 4.2. Details of the methodology used for the Monte Carlo calculations of the dose coefficients.

| Radiation transport | For the adult reference phantoms: EGSnrc (Kawrakow et al., 2009) For the paediatric reference phantoms: GEANT4 (Agostinelli et al., 2003), version 10.7 (patch 03) |
| --- | --- |
| Cross section library | EGSnrc: XCOM data base (Berger and Hubbell, 1987) GEANT4: Livermore data library (Perkins et al., 1991; Cullen et al., 1997a) |
| Particles considered | Photons and secondary electrons |
| Energy range considered | Adults: 3–150 keV Paediatric: 1–120 keV Calculations were performed for 1 keV bins |
| Source | Idealised, isotropic point, collimated beams Collimation is idealised Phantoms placed in vacuum |
| Anthropomorphic phantoms | ICRP reference voxel phantoms (ICRP, 2009), adult and newborn,1-, 5-, 10-, 15- year old (ICRP, 2020a) Note newborn, 1-, 5-, 10-year-old, male and female, have identical anatomy, besides the gonads |
| Position of arms of phantoms | See Table 4.1 |
| Projections (examinations) simulated | See Tables 3.2, 3.3; most frequent radiographic examinations, good radiographic practice, standard conditions |
| Skeletal dosimetry | Use of Dose Response Functions, DRF, (ICRP, 2010). See Annex C |
| Organs and tissues for which dose coefficients are given | Red bone marrow (R-marrow), colon, lung, stomach (ST-wall), breast, ovaries or testes (gonads), bladder (UB-wall), oesophagus, liver, thyroid, skeletal endosteum (Endost-BS), brain, salivary glands (S-glands), skin, remainder tissues: adrenals, extrathoracic (ET) region, gall bladder (GB-wall,) heart (Ht-wall), kidneys, lymphatic nodes, muscle, oral mucosa (O-mucosa), pancreas, prostate, small intestine (SI-wall), spleen, thymus, uterus/cervix and lens of the eye |
| Dose coefficients | Given for each phantom, male and female, separately |
| Effective dose | The contribution of the male and female phantoms is given separately |
| Normalisation quantity | Dose per fluence at 1 m from the source |
| Purpose of dose coefficients | To be used for convolution with an x-ray spectral distribution to obtain spectral dose coefficients |

GEANT4, Geometry and Tracking, version 4; EGSnrc, Electron Gamma Shower National Research Council of Canada.

EGSnrc

Organ absorbed and effective dose coefficients for the adult reference phantoms were calculated at the Helmholz Zentrum Munich and Federal Office for Radiation Protection (BfS), Germany, using a code developed specifically for organ dose calculations (Schlattl et al., 2012) employing the electron-gamma-shower code system EGSnrc Version v4-2-3-1 (Kawrakow et al., 2009). EGSnrc is an extended and improved version of EGS4 (Nelson et al., 1985), maintained by the National Research Council of Canada (NRC). The transport of photons and electrons can be simulated for particle kinetic energies from a few keV up to several hundred GeV.

- For photon transport, bound Compton scattering and secondary photo-electrons from K, L, and M shells are considered for all energies. In both cases, resulting fluorescence or Auger and Coster-Kronig electrons are followed. The input data for photon cross sections agree with those of the XCOM database (Berger and Hubbell, 1987).

For the calculations performed for this publication, photon transport is terminated when the photon energy is at or below 2 keV. Secondary electrons are followed until their kinetic energy drops below 20 keV.

- Simulations were made only for photons in the energy range of 3 to 150 keV. The number of histories followed was 10 million for each single energy (in steps of 1 keV), resulting in coefficients of variance below 1–2% for most organs in the field, i.e. receiving primary radiation. For small organs outside the beam, the coefficients of variance per single photon energy could amount to several tens of percent.

- Organ absorbed dose coefficients calculated for monoenergetic values for all defined organs/tissues, including all those explicitly noted in the definition of the effective dose and all remainder tissues, are given as absorbed dose per fluence at the reference plane. Since this document refers to x-ray beams, and the radiation weighting factor (wR) of photons equals to unity, the equivalent dose coefficients are numerically equivalent to their corresponding absorbed dose coefficients.

- The computational methods for determining the absorbed dose to active marrow and skeletal endosteum for the adult reference phantoms are described in Annex D of ICRP Publication 116 (ICRP, 2010). They made use of the dose response functions (DRF) described therein. Additionally, Annex C of the present Publication explains their implementation to the Monte Carlo codes.

GEANT4 code

- Organ absorbed and effective dose coefficients for the paediatric reference phantoms were calculated in Yonsei University, South Korea, using GEANT4, an open source, general-purpose Monte Carlo code, which was developed in the C++ programming language, exploiting software engineering and object-oriented technology (Agostinelli et al., 2003). Since the first public release in 1998, the GEANT4 code has been improved and maintained by the GEANT4 collaboration of various international research groups (http://geant4.cern.ch/). The GEANT4 code can simulate a large set of particles, covering a wide energy range from 100 eV to 10 TeV or, for some particles, 10 PeV (Allison et al., 2016). It is widely used in various applications including radiation dosimetry, medical application, space science and accelerator physics.

- GEANT4 Version 10.7 (patch 03) was used in the calculations of the dose coefficients for the paediatric reference voxel phantoms. These were implemented in the GEANT4 code by using the G4VNestedParameterisation class, which has shown the best performance in computation speed and memory usage against other GEANT4 classes for implementation of voxel geometry (Schümann et al., 2012). The physics library of the G4EmLivermorePhysics, including EPDL97 (Cullen et al., 1997a), EEDL (Perkins et al., 1991) and EADL (Perkins et al., 1997), was used to simulate photons and secondary electrons. To secure precision of simulation, a secondary production cut range of 1 μm was applied for all particles in every medium.

Organ absorbed dose coefficients for monoenergetic photons were calculated for each projection and phantom, in 1 keV energy bins across the range of 1 to 80 keV for the newborn, to 90 keV for the 1-year-old, to 100 keV for the 5-year-old, to 110 keV for the 10-year-old and to120 keV for the 15-year-old, depending on the examination and phantom, i.e. age represented. Absorbed doses to all organs for which tissue weighting factors are assigned (ICRP, 2007) were calculated using the G4PSEnergyDeposit class, except for the skeletal tissues (red bone marrow and endosteum), and the lens of the eye.

The absorbed doses to the skeletal tissues were calculated following the skeletal dosimetry method based on the paediatric DRF, as described in Annex C of the present publication. For these calculations, the scoring class derived from the G4VPrimitiveScorer class was used to convert the photon fluence values in the regions of the spongiosa or medullary cavity at a given photon energy to the corresponding skeletal doses via a log-log interpolation of the DRF values (Yeom et al., 2016). 108 primary photons were transported so that relative errors of the calculated organ absorbed doses were below 5% for the organs within the beam fields, while relatively large errors, even above 20% could occur, for organs outside the beam fields, particularly small ones.

- Fig. 4.2 shows as examples the absorbed dose per fluence at 1 m from the source plotted against energy for red bone marrow, colon, stomach and lungs for scoliosis right lateral projection and male paediatric reference phantoms.

Fig. 4.2. Left: Absorbed dose per fluence at 1 m from the source, for red bone marrow, colon, stomach and lungs, as a function of photon energy for scoliosis right lateral projection and male paediatric reference phantoms. Right: schematic representation of the irradiation fields showing anatomical landmarks on the 1- and 15-year old male phantoms.

GEANT4 code used for spot checks

Spot checks on organ absorbed dose coefficients for the paediatric reference phantoms and some selected projections were calculated at the Department of Engineering Physics, Tsinghua University, China, using a code developed specifically for phantom dose calculations employing the GEANT4 toolkit Version 10.4 (http://geant4.cern.ch/).

The physics library of G4EmStandardPhysics_option3 was used to simulate the transport of photons and secondary electrons through paediatric reference phantoms. To balance calculation accuracy and computational efficiency, a secondary production cut-range of 0.1 mm was used for all particles in every medium.

For the spot checks, organ absorbed dose coefficients for monoenergetic photons were calculated for each projection and phantom, with 5 keV energy bins across the range from 1 to 80 keV (for the newborn), 1 to 90 keV (1-year-old), 1 to 100 keV (5-year-old), 1 to 110 keV (10-year-old) and 1 to 120 keV (15-year-old), respectively. In each case 108 histories were calculated. Relative statistical uncertainties for organs inside the exposure field were less than 5%. However, for organs outside the exposure field, especially small organs, the relative statistical uncertainties were about 20%.

Absorbed doses to all organs, except skeletal tissues, were calculated by counting the energy deposition directly using the GetTotalEnergyDeposit function of the of G4Step class (see http://geant4.cern.ch/). For the calculations of the averaged absorbed doses for red bone marrow and endosteum, the skeletal dosimetry method based on the DRF described in Annex C of the present Publication was applied. The track length in a unit volume was used to obtain the photon fluence which was then converted to the corresponding skeletal doses via interpolation of the DRF values for a given photon energy.

Quality Assurance of data

For verification of the calculations, a number of spot check calculations were performed by different calculators. In the spot checks, Monte Carlo simulations were performed in different centres using a range of projections and including all the phantoms to derive selected monoenergetic coefficients. The same input parameters were used to characterise the radiation fields, but different Monte Carlo codes were employed. In addition, in some cases the same Monte Carlo code was used by at least two different centres to check that dosimetric methods such as phantom definition and skeletal dosimetry were correctly implemented. The spot checks demonstrated very good agreement between centres, as exemplified in Figs. 4.3 to 4.5. Fig. 4.3 compares the dose coefficients at 100 keV obtained in two different centres for a pelvis anterior-posterior examination simulated with both EGSnrc and GEANT4 using the adult female phantom. The comparison is between the data provided in this publication (primary) and that performed by a spot check. Fig. 4.4 shows a similar comparison for a chest anterior-posterior examination simulated with GEANT4 at 50 keV using the male newborn phantom. Fig. 4.5 shows the absorbed dose to the urinary bladder (left) and thyroid (right) as a function of photon energy, for a lumbar spine left lateral examination simulated with GEANT4 using the 10- year-old female phantom. As can be seen from Figs. 4.3 to 4.5 there is a very good agreement between primary and spot check data.

Fig. 4.3. Organ absorbed dose coefficients for a pelvis anterior-posterior examination on the adult female reference phantom for 100 keV photons, as calculated with EGSnrc and GEANT4 codes. The red circles show the data of the primary calculations and the black crosses those of the spot checks (in most cases the two are superimposed).

Fig. 4.4. Organ absorbed dose coefficients for a chest anterior-posterior examination on the newborn male reference phantom and 50 keV photons, calculated with the GEANT4 code by two different calculators. The red circles show the data of the primary calculations and the black crosses those of the spot checks (in most cases the two are superimposed).

Fig. 4.5. Urinary bladder (left) and thyroid (right) absorbed dose coefficients for a lumbar spine left lateral examination on the 10-year-old female reference phantom as a function of photon energy, calculated with the GEANT4 code and EGSnrc by two different calculators. The red circles show the data of the primary calculations and the black crosses those of the spot checks. Note that the urinary bladder lies inside the beam whereas the thyroid lies outside.

Dose coefficients for monoenergetic photons at 1 keV intervals– Description of tables

- Organ absorbed doses have been calculated for each projection and phantom, with Monte Carlo methods in 1 keV energy bins across the range 1 or 3 to 80, 100, 120 or 150 keV, depending on the examination and phantom, i.e. age represented. This generic method enables any beam quality to be generated using a convolution. The dose coefficients for the monoenergetic energy bins are given normalised to fluence at the reference plane which has been defined at 1 m from the source. Note that the fluence at the reference plane is always estimated in absence of the phantom.  The air kerma free-in-air at the reference plane for the respective energy beam is also given. Dose coefficients for a spectral beam can then be generated in terms of x-ray fluence spectrum and air kerma per fluence per energy bin (see Section 5).

- Organ absorbed dose coefficients normalised to fluence at 1 keV intervals for all projections considered and all 12 phantoms are given in the electronic supplement. Provided are also the coefficients for wT  ×HT  M  and   wT  ×HT  F (denoted E103, xxM and E103, xxF as described in paragraph 20 and Annex A), again at 1 keV intervals.

DOSE COEFFICIENTS FOR EXAMPLE X-RAY SPECTRA

- In the case of adult radiography, organ absorbed dose coefficients are provided in the electronic supplement for bremsstrahlung spectra at 60, 80, 100, and 120 kV with total filtration of 2.5, 3.0, and 3.5 mm Al. For paediatric radiography, the coefficients are provided for selected spectra in the range of 65 to 100 kV, depending on the projection and age of the child. As in the case of adult radiography, the spectra have total filtration between 2.5 and 3.5 mm Al. Moreover, since additional copper filtration is often recommended for paediatric radiography, dose coefficients for spectra with additional filtration, i.e. 3.0 mm Al + 0.1 mm Cu are provided. Details of the beam qualities used in paediatric radiography can be seen in Table 5.1. The effect of alternative beam qualities on the dose coefficients can easily be explored using the monoenergetic data, as described in Section 6.

- The dose coefficients are reported as organ absorbed doses per KAP (PKA) and per air kerma free-in-air at 1 m distance from the source. The dose coefficients for the selected spectra are also available as part of the ICRP dose viewer which is an application freely available at the Apple App Store (https://www.apple.com/app-store/) and Google Play Store (https://play.google.com/store/apps).

Table 5.1. Details of beam qualities considered for paediatric examinations, for which dose coefficients are provided.

| Examination | Tube Potential(kV) |  |  |  |  | Filtration |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 00MF | 01MF | 05MF | 10MF | 15MF | mm Al | mm Al+Cu |
| Chest PA | N/A | N/A | 70 | 70 | 100 | 2.5, 3.0, 3.5 | 3.00 Al +0.1Cu |
| Chest AP | 65 | 65 | 70 | 70 | 100 | 2.5, 3.0, 3.5 | 3.00 Al +0.1Cu |
| Chest Lat | 65 | 65 | 75 | 75 | 100 | 2.5, 3.0, 3.5 | 3.00 Al +0.1Cu |
| Pelvis AP | 65 | 65 | 70 | 75 | 80 | 2.5, 3.0, 3.5 | 3.00 Al +0.1Cu |
| Abdomen AP | 65 | 65 | 70 | 75 | 75 | 2.5, 3.0, 3.5 | 3.00 Al +0.1Cu |
| Lumbar Spine AP | 65 | 70 | 70 | 75 | 80 | 2.5, 3.0, 3.5 | 3.00 Al +0.1Cu |
| Lumbar Spine Lat | 65 | 70 | 70 | 75 | 80 | 2.5, 3.0, 3.5 | 3.00 Al +0.1Cu |
| Thoraco-lumbar spine Lat | 60 | 60 | 65 | 70 | 70 | 2.5, 3.0, 3.5 | 3.00 Al +0.1Cu |
| Scoliosis AP | 65 | 70 | N/A | N/A | N/A | 2.5, 3.0, 3.5 | 3.00 Al +0.1Cu |
| Scoliosis PA | N/A | N/A | 75 | 75 | 80 | 2.5, 3.0, 3.5 | 3.00 Al +0.1Cu |
| Scoliosis Lat | 65 | 70 | 76 | 80 | 85 | 2.5, 3.0, 3.5 | 3.00 Al +0.1Cu |
| Skull AP | 70 | 70 | 75 | 75 | 75 | 2.5, 3.0, 3.5 | 3.00 Al +0.1Cu |
| Skull PA | 70 | 70 | 75 | 75 | 75 | 2.5, 3.0, 3.5 | 3.00 Al +0.1Cu |
| Skull Lat | 70 | 70 | 75 | 75 | 75 | 2.5, 3.0, 3.5 | 3.00 Al +0.1Cu |

00MF, newborn male and female; 01MF, 1-year-old male and female; 05MF. 5-year-old male and female; 10MF, 10-year-old male and female; 15MF, 15-year-old male and female; PA, posterior-anterior; AP, anterior-posterior; Lat, lateral; N/A, not applicable.

These spectra have been generated using the software SpekCalc (Poludniowski, 2007; Poludniowski and Evans, 2007; Poludniowski et al., 2009). SpekCalc is a software program based on theoretical bremsstrahlung cross sections and has been developed for the calculation of x-ray spectra from tungsten anode x-ray tubes, primarily for medical applications. The software simulates the x-ray source as a point source and models a wide range of tube potentials (40–300 kV) and anode angles. The heel effect is not taken into account; the implications are discussed in Section 6.3.2. Filtration can be applied for seven materials (air, water, Be, Al, Cu, Sn and W). For all spectra considered, an anode angle of 13 degrees has been employed, as well as vacuum as the medium.

- To derive the dose coefficients (D/KA)S for each of the example x-ray spectra S, the monoenergetic dose coefficients were convolved with the specified spectra. Since air kerma per fluence, KA/ϕ, is energy-dependent, it has to be summed up fluence-wise, as do the organ absorbed dose coefficients. The fluence-weighted sum of the organ absorbed dose coefficients per fluence, D/ϕ, is then divided by the fluence-weighted sum of the air kerma coefficients per fluence, KA/ϕ, resulting in an overall coefficient of organ absorbed dose per air kerma. This is described mathematically in Eq. 5.1 where ϕS(E) denotes the fluence of the spectrum S at the energy E. For further details see section 6.2.

DTKAS=DϕE ϕSE dEKAϕE ϕSE dE					 (5.1)

The procedure has been validated by comparing the dose coefficients obtained with the convolution method and those calculated with a Monte Carlo code using a spectral source as an input. Fig. 5.1 shows such a comparison for an abdomen anterior-posterior examination using the adult male phantom and Fig. 5.2 shows the comparison for the same examination using the 1-year-old phantom. It can be seen that the agreement is very good - deviations are below 2% for all organs within the exposure field - and validates the convolution procedure used.

- The overall organ absorbed dose coefficients for the projections considered and all male and female phantoms are given for each of the example spectra in the electronic supplement.  As with  mono energetic data described in Section 4, for each spectra coefficients for wT  ×HT  M  and   wT  ×HT  F are provided, (again denoted E103, xxM and E103, xxF as described in paragraph 20 and annex A). For convenience, values of an effective dose coefficient ( wT  ×HT  M +  wT  ×HT  F) /2 are also provided, should the user wish to use the same value of normalisation quantity for male and female examinations.

Fig. 5.1. Comparison of organ absorbed dose coefficients for abdomen anterior-posterior examination of the adult male reference phantom, for 60 kV tube potential and additional filtration of 3.5 mm Al, evaluated using the monoenergetic data and convolution method and direct Monte Carlo (MC) calculation employing spectral input data.

Fig. 5.2. Comparison of organ absorbed dose coefficients for abdomen anterior-posterior examination of the one-year-old reference phantom (01M), for 65 kV tube potential and additional filtration of 3.0 mm Al +0.1 mm Cu, evaluated using the monoenergetic data and convolution method and direct Monte Carlo (MC) calculation employing spectral input data.

APPLICATION OF DOSE COEFFICIENTS

Using the Bremsstrahlung spectral data to estimate organ and effective doses

As previously outlined, for those users who do not need or wish to fine-tune their organ absorbed dose estimates using convolution, organ absorbed dose coefficients are provided for selected bremsstrahlung spectra between 50 and 120 kV with total filtration between 2.5 and 3.5 mm Al and an additional 0.1 mm Cu in the case of paediatric projections. The coefficients are normalised to KAP (PKA), air kerma free-in-air and fluence, both determined at 1m from the x-ray tube. They can be used in those situations where the beam qualities encountered in the field are the same as or close to those in the tables. For simplicity, in this section, KAP (PKA) will be indicated as KAP.

To use the spectrum data provided in this publication, it is necessary to have as a minimum:

  - a measurement of the kerma free-in-air on the central axis of the beam at 1 m from the tube focus or the KAP for a specific radiographic view;

  - the tube potential in kV used for the exposure; and

  - knowledge of the tube filtration.

The kerma free-in-air can be obtained from measurements made using an ionisation chamber, and the KAP will generally be displayed on a (properly calibrated) x-ray set, but can also be calculated from the kerma free-in-air and the field size. Ideally, the total filtration of the tube will be known, in terms of mm Al plus any additional copper. If the exact filtration is not known, then it is suggested, on the basis of clinical experience, that 3.0 mm Al be chosen for both adult and paediatric cases.

For example, to determine the colon dose for an abdominal anterior-posterior (AP) examination performed on an adult male, at a tube potential of 80 kV and a KAP of 2.5 Gy cm2 and with a total filtration of 3.5 mm Al, the user should:

  - open the file ‘AbdomenAP_Spectral.xlsx’ in the electronic annex;

  - Select the tab ‘AM’, indicating Adult Male; and

  - Select row 69, which corresponds to 80 kV.

Organ absorbed dose coefficients are given in mGy Gy−1 cm−2 from column F onwards. Thus, the colon absorbed dose (column G, for the coefficient) is found to be 4.26×10−1 mGy Gy−1 cm−2 ×2.5 Gy cm2 = 1.1 mGy.

The effective dose, E, can be determined by multiplying each of the dose coefficients E103,AM and E103,AF by the KAP used in the male and female examinations respectively, and then dividing the sum by two. In this example, it is assumed that that the KAP for the Abdomen AP examination of the female is the same for that on the male, i.e. 2.5 Gy cm2. The dose coefficient for a male is 1.76×10−1 mSv Gy−1 cm−2 and for a female it is 2.57×10−1  mSv Gy−1 cm−2 (Columns ‘AH’), so E for this examination is given by E = (1.76×10−1 mSv Gy−1 cm−2 + 2.57×10−1 mSv Gy−1 cm−2) / 2 × 2.5 Gy cm2 = 2.16×10−1 mSv Gy−1 cm−2 × 2.5 Gy cm2 = 0.54  mSv. A similar process can be followed if air kerma at the reference plane is used as the normalising quantity. For convenience, column ‘AJ’ provides the averaged dose coefficient for those who wish to take this approach.

- If the filtration is known exactly and falls between 2.5 and 3.5 mm Al, then simple linear interpolation can be used to obtain a more precise value for any dose coefficient.

- Note that in the case of paediatric examinations, the selection of tube potential is restricted to a more restricted set of values to represent clinical practice. Also, there is only one option for copper filtration.

Using the convolution process for a user-defined spectrum

Dose coefficients for a user-defined spectrum can be obtained by convolution using the monoenergetic dose coefficients provided in this publication as described in Eq. 5.1. By way of example, consider again the case of the AP abdomen projection performed on the adult male phantom. For this example, the program SpekCalc was used to generate an 80 kV bremsstrahlung spectrum from a tungsten target with a 13 degree anode angle and 3.5 mm Al total filtration. This is the same example as in Section 6.1, but will use the convolution approach, rather than the results explicitly provided.

The flow diagram (Fig. 6.1) shows how the convolution process is carried out using data from the electronic supplement, in conjunction with the calculated spectrum. The diagram references Table 6.1 which uses as an example the data file ‘AbdomenAP_mono.xlsx’ from the appropriate folder of the electronic supplement and in particular the dose coefficients of colon.

The first two columns of Table 6.1 show the energy and fluence data from the spectrum program. For simplicity, only the first 14 and last 4 energy intervals are shown (note, values are only provided where the fluence is not zero). The third column (relative number of photons per energy interval) is calculated as shown. The fourth column (organ absorbed dose per fluence per energy interval) is taken from the electronic supplement (file ‘AbdomenAP_mono.xlsx’), and the fifth column (fluence-weighted probability) is calculated as shown. The sixth column (air kerma per fluence in the reference plane) is taken also from the file ‘AbdomenAP_mono.xlsx’, and the final column (weighted air kerma per energy interval in the reference plane) is calculated as shown. The dose per KAP and per kerma at the reference plane are calculated as shown.

Table 6.1 shows that the colon dose per KAP, estimated via convolution is 0.43 mGy  Gy−1 cm−2, which is, as expected, the same value as that obtained using the file ‘AbdomenAP_Spectra.xlsx’ as described in Section 6.1 above. By using this method one can obtain the effective dose coefficient.

Use of other spectrum programs, for example using data obtained from the IPEM Report 78 program (Sutton, 2015), will produce slightly different results. For example, in the calculation performed here, using the IPEM Report 78 software results in an estimate of colon dose per KAP of 0.45 mGy Gy−1 cm−2.

If spectra are not available at 1 keV intervals, then they must be amended to be so. This applies, for example in the IPEM Report 78 software (Sutton, 2015), which produces output at 0.5 keV intervals. In this case each consecutive pair of fluence values should be summed prior to performing the convolution.

Fig. 6.1: Flow chart demonstrating the convolution process.

Table 6.1. Example of convolution for abdomen anterior-posterior (AP) examination on the adult male phantom. The example employs the monoenergetic data given in the electronic supplement (AbdomenAP_mono.xlsx) and demonstrates the method for estimating the absorbed dose coefficients of the colon¶. Capital letters (A, B, C, X, Y) refer to those used in Fig. 6.1.

| Voltage (keV) | Fluence* (cm−2) | Relative number of photons† (A) | Colon dose, D, per fluenceǂ (mGy cm2) (B) | Fluence weighted colon dose, D, (mGy) (A × B) | Air kerma per fluence in the reference plane§ (Gy cm2) (C) | Weighted air kerma in the reference plane (mGy) (A × C) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 0 | 0 | 0 | 0 | 5.77×10−10 | 0 |
| ⁝ | ⁝ | ⁝ | ⁝ | ⁝ | ⁝ | ⁝ |
| 8 | 7.53×10−14 | 7.15×10−22 | 2.47×10−14 | 1.76×10−35 | 1.21×10−11 | 8.65×10−33 |
| 9 | 4.48×10−8 | 4.26×10−16 | 1.02×10−13 | 4.35×10−29 | 9.48×10−12 | 4.04×10−27 |
| 10 | 3.71×10−4 | 3.53×10−12 | 4.08×10−13 | 1.44×10−24 | 7.60×10−12 | 2.68×10−23 |
| 11 | 8.09×10−2 | 7.68×10−10 | 1.40×10−12 | 1.08×10−21 | 6.21×10−12 | 4.77×10−21 |
| 12 | 4.65 | 4.41×10−8 | 3.36×10−12 | 1.48×10−19 | 5.16×10−12 | 2.28×10−19 |
| 13 | 9.00×101 | 8.55×10−7 | 7.69×10−12 | 6.58×10−18 | 4.35×10−12 | 3.72×10−18 |
| 14 | 8.83×102 | 8.39×10−6 | 1.62×10−11 | 1.36×10−16 | 3.72×10−12 | 3.12×10−17 |
| ⁝ | ⁝ | ⁝ | ⁝ | ⁝ | ⁝ | ⁝ |
| 77 | 3.14×105 | 2.99×10−3 | 7.01×10−10 | 2.09×10−12 | 3.03×10−13 | 9.05×10−16 |
| 78 | 2.47×105 | 2.34×10−3 | 7.04×10−10 | 1.65×10−12 | 3.05×10−13 | 7.15×10−16 |
| 79 | 1.37×105 | 1.30×10−3 | 7.08×10−10 | 9.19×10−13 | 3.07×10−13 | 3.98×10−16 |
| 80 | 0.00 | 0 | 7.16×10−10 | 0.00 | 3.09×10−13 | 0.00 |
| Sum | 1.05×108 | 1.0 | - | 5.52×10−10 (X) | - | 4.98×10−13 (Y) |

* From spectrum program.

† Fluence per energy bin divided by total fluence.

ǂ From file ‘AbdomenAP_mono.xlsx’.

§ From file ‘AbdomenAP_mono.xlsx’.

¶ The organ (i.e. colon) dose per air kerma at the reference plane is therefore given by DT = X × Y= 5.52×10−10 / 4.98×10−10 = 1108 mGy Gy−1. From the ‘AbdomenAP_mono.xlsx’, the field size at the reference plane (Z) is 42.4 × 61.3 = 2599.12 cm2. Thus, the colon dose per kerma-area product (KAP) is expressed as DT / Z = 1108 mGy Gy−1 2599.12 cm2 = 0.426 mGy Gy−1 cm−2.

Possible application of the dose coefficients

Using beam qualities different to those presented in the tables of coefficients

Users may wish to align the dose coefficients more closely to the equipment available in their environment by reproducing the beam qualities actually available to them. Alternatively, they may wish to determine the effect of utilising new equipment with different beam qualities. Either are easily done using the approach outlined in Section 6.2. A simple example would be a paediatric radiology department in which abdominal radiographs are performed at 70 kV using a total filtration of 3.0 mm Al + 0.2 mm Cu. The examples provided in the tables only contain coefficients for beam qualities with 3.0 mm Al + 0.1 mm Cu total filtration at 70 kV so the convolution approach must be adopted.

Take the example of an abdominal examination performed on a five-year-old male. A fluence spectrum must first be generated using the user’s preferred software. Then using the methodology outlined in Section 6.1, the file ‘AbdominalAP_mono.xlsx’ is chosen and the 05M tab selected. If the spectrum is calculated at 70 kV using SpekCalc with a 13 degree anode angle, the colon dose coefficient is calculated to be 1.83 mGy Gy−1 cm−2 and the effective dose  [(E103,05M + E103,05F) / 2] is 8.59×10−1 mSv Gy−1 cm−2, assuming that the KAP is the same for both a male and female examination. Alternatively, the radiology department may choose to obtain abdominal radiographs at 65 kV with a beam quality of 3mm Al + 0.1 mm Cu. Use of the convolution approach shows that for a 5-year old male the colon dose coefficient is 1.6 mGy Gy−1 cm−2. The same approach can be used if a different tube potential is utilised. Table 6.2 shows how the dose coefficients vary with kV and filtration for the examples described. The second column of the table shows the colon dose for a beam quality of 70 kV with 3 mm Al plus 0.1 mm Cu total filtration and presents the results implemented using convolution and also using the spectral table ‘AbdomenAP_Spectral.xlsx’. As expected, and discussed in Section 6.2, in those situations where results can be obtained using either convolution or table, there is no difference between them.

- Table 6.2. Variation of the colon and effective dose coefficient due to different beam filtration for a 5-year-old male.

| Beam quality | Dose coefficient (mGy Gy−1 cm−2) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Colon |  | E103,F |  | E103,M |  | E103 |  |
|  | From table | Using convolution | From table | Using convolution | From table | Using convolution | From table | Using convolution |
| 70 kV, 3mm Al + 0.1 mm Cu | 1.65 | 1.65 | 0.75 | 0.75 | 0.78 | 0.78 | 0.76 | 0.76 |
| 70 kV, 3mm Al + 0.2 mm Cu | cbd | 1.83 | cbd | 0.85 | cbd | 0.87 | cbd | 0.86 |
| 65 kV, 3mm Al +0.1 mm Cu | cbd | 1.6 | cbd | 0.72 | cbd | 0.75 | cbd | 0.73 |

- cbd, cannot be determined.

An optimisation example

Use of additional copper filtration has the advantage of lowering the dose if the automatic exposure control (AEC) device is properly set-up and is often recommended for units used for paediatric examinations. Due to its larger photoelectric cross-section, copper absorbs more low energy photons in the 20–50 keV range than aluminium so for example, inclusion of a 0.2 mm thick copper filter in radiographic units at tube potentials of 70 to 80 kV can reduce KAP by 50% for the same exit dose from the patient. The corresponding reduction in effective dose can be up to 40% (Martin et al., 1999; ICRP, 2024b). By way of example, the images shown in Fig. 6.2 below depict radiographs taken with and without copper filtration and show little change in image quality, but substantial reductions in KAP. It should be noted that these images are from a cadaver study. A disadvantage of using copper filters is that an increased tube output is required to maintain the same level of quantum noise at the receptor. There will also be a reduction in image contrast resulting from the enhanced absorption of low-energy photons.

If any additional filtration is incorporated into a system, the trade-off between image quality and organ absorbed or effective dose as well as the impact on the tube loading should be evaluated thoroughly before the system is introduced into clinical practice to ensure that the diagnostic quality of the images is not compromised.

a	              	            b		                     c		                  d

Fig 6.2. Pelvic radiographs of a cadaver taken at 81 kV with a Siemens Axiom Aristos FX x-ray set showing the effect of additional copper filters. Exposures from left to right were taken with the following thicknesses of copper 0 mm (a), 0.1 mm (b), 0.2 mm (c), and 0.3 mm (d), and the ratio of KAP values to that obtained with no copper filtration are 1.0, 0.69, 0.44, and 0.34, respectively (ICRP, 2024b).

The data presented in this publication can be used to assist in that process and also inform practitioners of potential dose saving methods. To show the effects of filtration, consider the four pelvis radiographs shown in Fig. 6.2. A typical KAP value for a pelvic radiograph is 2.2 Gy cm2. The beam qualities shown in table 6.3 have been used to determine effective dose at 81 kV for a pelvis x ray, as defined in Annex B, using the male and female projections to generate E = (E103,AM + E103,AF)/2 for KAP values of 2.2, 1.5, 0.96, and 0.76 Gy cm2 respectively (obtained using the ratios shown in the legend to  Fig 6.2). Table 6.3 shows that the effective dose can be reduced by a factor of approximately two by including an additional 0.2 mm copper filtration which will result in an additional load on the tube of approximately 50%.

The data have also been used to assess the effect of additional filtration on the dose to the uterus under the same conditions demonstrating a similar dose reduction, as shown in Table 6.3 for a pelvis examination of an adult female. This reduction has potential implications in, for example, the justification and optimisation of examinations of patients who may be or indeed are pregnant. Practitioners can use this type of calculation to determine how to image such patients.

The table also gives an indication of the additional tube loading required. This was determined from the exit spectra from an additional 200 mm of polymethyl methacrylate (PMMA) used to mimic a patient. Spectra were generated using the software described in IPEM Report 78 (Sutton, 2015), using an anode angle of 13 degrees and no voltage ripple. The doses were then evaluated using the dose coefficients calculated for monoenergetic photons in conjunction with the convolution method described above.

Table 6.3. Reduction in effective dose and uterine dose in pelvis examination of an adult female caused by the addition of filtration.

| Beam quality at 81 kV | KAP | Effective dose* (mSv) | Uterus absorbed dose (mGy) | Indicative increase in tube current |
| --- | --- | --- | --- | --- |
| 3 mm Al + 0 mm Cu | 2.2 | 0.27 | 0.92 | 0% |
| 3 mm Al + 0.1 mm Cu | 1.5 | 0.19 | 0.71 | 30% |
| 3 mm Al + 0.2 mm Cu | 0.96 | 0.13 | 0.49 | 60% |
| 3 mm Al + 0.3 mm Cu | 0.76 | 0.10 | 0.20 | 100% |

*E = (E103,AM + E103,AF) / 2

UNCERTAINTIES AND LIMITATIONS

Influence of phantoms and field size

The purpose of patient dosimetry for medical x-ray imaging is to check standards of good practice, contribute to the optimisation process (ICRP, 2024c) and to assist in assessing detriment. For the assessment of the risk detailed knowledge is required of organ absorbed doses and the age and sex of the patients concerned. Monte Carlo methods are commonly used to derive dose coefficients relating normalisation quantities such as KAP (PKA), air kerma free-in-air or fluence to the organ absorbed dose.

The dose coefficients of this publication are calculated for the reference phantoms at reference ages (newborn, 1-, 5-, 10-, 15- year old and adult) (ICRP, 1995) and coefficients for a real patient may differ. Petoussi-Henss et al. (Petoussi-Henss et al., 2005; Petoussi-Henss et al., 2006) investigated the effect of body size and anatomy by simulating various radiographic examinations and employing, besides the two ICRP adult reference phantoms, four non-reference voxel phantoms constructed from image data of real individuals. In these studies, individual setting parameters (radiation quality, field size, focus-image receiver and focus-skin distance) were varied to examine their effect on the organ doses. In general, it was shown that the use of different individual voxel phantoms leads in some cases to differences in organ dose coefficients of up to a factor of 3. These differences were attributed to the anatomical differences between individuals and therefore to different amount of shielding of organs, depending both on the phantom size and the topology of the organs. For those organs that lie entirely in the primary beam, it is also generally true that the dose coefficients per fluence or per air kerma decrease with increasing patient diameter. This trend is also observed for the age-dependent dose coefficients of this publication.

In the same work, organ doses were found to be dependent on the exposure conditions; in general, as field size increases, organ dose coefficients per incident air kerma also increase. While this effect is small for organs that lie entirely in the field, it is most pronounced for organs that lie only partially in the primary beam or outside the field but close to its edge.

Previous comparisons of coefficients calculated at different institutes showed that differences are small, i.e. within the statistical errors and generally less than 10% when the exposure conditions and computational phantoms of patients are similar. Larger differences occur due to differences in the computational phantoms simulating the patient, for example, due to the use of MIRD or voxel type phantoms (ICRU, 2005). Similar conclusions can be drawn from comparisons of measured and calculated organ dose coefficients. Larger errors, i.e. well in excess of 10% occur for coefficients concerning organs far away from the primary beam. This is not a practical problem since their contribution to the radiation risk is much less than that of organs receiving the highest doses (ICRU, 2005).

The ICRP reference phantoms are based on specific individuals and, although they have reference masses as per Publication 89 (ICRP, 2002), the organs have not a ‘reference’ position, since these are based on the anatomy of the individual whose image data were used for the construction of the phantom. Studies have shown that the position of the organs in relation to the field, for example, of the colon in examinations of the abdomen where some parts may lie inside or outside the x-ray field, could result in different values of the colon dose. A study which employed a library of different size of (non-reference) phantoms, based on the scaling of a limited number of size-adjusted individuals, revealed significant differences of the colon dose (Martin et al., 2021).

It should be noted that variations in doses to small organs that are considered sensitive to radiation can have a significant effect on the calculation of effective dose.  Such organs can lie close to the edge of the field of an examination, examples being the case of the thyroid for chest examinations or the testes for examinations of the pelvis. In such cases, where positioning on the actual patient is not optimal (i.e. not representative of good practice), then the uncertainty in the ensuing dose estimate may be considerably larger than reported here.

Uncertainties of dose coefficients calculated with Monte Carlo methods

The coefficients tabulated in this publication were developed using the ICRP methodology, a well defined framework, following documented procedures using reference computational phantoms, critically evaluated, verified for accuracy, and judged by the Commission to serve their intended purpose. The exposure conditions, i.e. field sizes, tube potential, and filtration of the x-ray beam, were selected to represent standard, good radiological practice. Within the scope of their intended use, the coefficients as issued by ICRP as an international authority, are reference data and have as such, no uncertainties, per the guidance of the Joint Committee for Guides in Metrology (JCGM, 2008).

Reference values are fixed and specified with no uncertainty, independent of the fact that the basis of these values may include uncertainties. In the present case, the accuracy of the dose coefficients provided is limited by uncertainties in the physical input parameters, such as interaction cross sections, and deviations of the particle transport simulation from the real exposure situation, for example, the source geometry and phantom.

The relative statistical uncertainties of the Monte Carlo calculations for organ absorbed dose coefficients depend on several parameters such as organ size, location in the human body, particle energy, and irradiation geometry. For organs inside the irradiation field organ absorbed doses were determined with relative statistical uncertainties (1 standard deviation) of less than 2% for the adult projections and less than 5% for the paediatric projections (see Sections 4.1.1 and 4.1.2). In contrast, for organs outside the primary beam and for energies below 10 keV, relative statistical uncertainties for small organs can be up to 20% or more, as only a few photons are able to reach such organs.

Uncertainties in dose estimates

One of the largest contributions to the uncertainty in the application of the organ absorbed dose coefficients in any real-world implementation, is the measurement uncertainty of the normalisation quantity, whether it be KAP (PKA) or air kerma free-in-air Ka.

The influence of uncertainties associated with the physical measurements of dose is quite easily quantified and has been reported widely – examples being Worrall and Sutton (2015), Toroi et al. (Toroi et al., 2008a; Toroi et al., 2008b), Hourdakis et al. (2010), the International Atomic Energy Agency (IAEA) (IAEA, 2007), Malusek et al. (2016), and Martin (2007). Both IAEA (2007) and ICRU (ICRU, 2005) recommend that these uncertainties be kept below 7%. This is relatively easily managed when ionisation chambers are used but is difficult to achieve when dose data is acquired with KAP meters. For example, the International Electrotechnical Commission (IEC, 2020) recommend that the overall uncertainty associated with field class KAP meter measurements in radiography should be below 25%. Toroi et al. (2008a) and Malusek et al. (2016) both report that it is possible to achieve an expanded uncertainty of lower than ±7% (coverage factor k = 2) if appropriate and traceable KAP calibration is carried out across the range of diagnostic beam qualities encountered in clinical practice. Sanchez and colleagues (Sanchez et al., 2020) have suggested that it should be easy for a medical physics expert to check if a dose meter introduces bias greater than ± 10% at least in reference conditions.

Another source of uncertainty is the fact that the spectra have been calculated in a vacuum whilst in reality the transmission medium is air. At 81 kV, which is representative of radiographic practice in general, the error introduced by this approximation is an overestimate of air kerma by 5% at most, as can be identified using SpekCalc, IPEM Report 78 or any other spectrum calculator.

Further uncertainty is introduced by the fact that the present calculations did not consider the heel effect or any other field inhomogeneity. It has been estimated that field inhomogeneities result in a coefficient of variation of up to 1.5% for a 40 cm by 40 cm field at the detector plane for exposures made across the diagnostic range of tube potential (Worrall and Sutton, 2015). This uncertainty will directly propagate to the organ absorbed dose calculation. The scatter contribution from the collimation, and other x-ray set components such as the additional filtration, to the air kerma incident on a patient is not considered in the Monte Carlo simulations. There is very little published work quantifying the magnitude of such scatter. However, calculations performed as part of this work suggests that the contribution is considerably less than 1%. This too will be reflected in the uncertainty introduced into the organ absorbed dose calculation.

Taking the above contributions into account, the lowest uncertainty that can be expected is an expanded uncertainty (k=2) in the calculated dose of about ±12.5% if the normalising quantity is incident air kerma or the KAP meter is subject to rigorous calibration checks. However, one can reasonably expect an uncertainty of at least about ± 20% to be encountered in practice if one is employing KAP as the normalising factor.

Limitations in interpretation

This publication provides patient organ absorbed dose coefficients, for male and female separately, for specific x-ray medical imaging procedures and well-defined technical factors. It also provides, for each examination, a value of either wT  ×HT  M  or   wT  ×HT  F, depending on whether the examination is performed on the male or female phantom. The effective dose for an examination can be obtained by taking the average of the two. However, this approach has limitations for the adult and 15-year-old reference ages due to the normalisation quantities used, i.e. KAP (PKA), fluence and air kerma. For these reference ages, the male phantom has a different size than the female phantom. Consequently the KAP, fluence and air kerma required to achieve the same image quality for any one examination will be different for males and females. This is not the case for the newborn, 1-, 5-, and 10-year-old phantoms, for which male and female anatomy and size are the same, besides the sex-specific organs.

For the calculation of  wT  ×HT  M,  wT  ×HT  F and effective dose, it should be noted that the current ICRP system of radiological protection uses a simplified set of tissue weighting factors, based on sex- and age-averaged relative detriment values and specifies only two nominal detriment values: 5.7×10−2 Sv-1 for the whole population and 4.2×10−2 Sv−1 for adults (ICRP, 2007b). Thus, recognised differences in detriment and relative detriment (the contribution of the various organs and tissues to total detriment) as a function of age at exposure are not taken into account, other than in the differences between the two nominal detriment values (ICRP, 1991b, 2007b). Thus, differences in effective dose coefficients as a function of age shown in this publication relate only to differences in physical size and organ masses and do not address differences in detriment per Sv. Similarly, differences in organ absorbed dose coefficients do not inform on differences in stochastic risk per Gy as a function of age at exposure. These are issues that ICRP plans to consider in the future.   However, it should also  be kept in mind that patients are a different group to the general population and may have existing pathologies, the aetiology for which could be erroneously related to the use of radiation. For guidance on the use of effective dose for patients see ICRP Publication 147 (2021). Further advice on the meaningful interpretation of the effective dose in medicine can be found in Martin (2020) who describes the approximations made in the derivation of effective dose for medical exposures, emphasises the uncertainties in calculating the subsequent risk and warns not to overstate its accuracy.

Conclusions

There are increasing demands from patients, families, medical professionals and relevant regulatory agencies to document patient-specific exposures for diagnostic medical imaging procedures. Ethical and professional considerations around accountability, transparency and patient-centredness emphasise the importance of these requirements. Decisions around justification and optimisation require prospective knowledge of patient doses.  Investigation of the consequences of unintended exposures requires retrospective determination of patient doses.  A standardised methodology to determine patient doses will be of considerable benefit in all of these instances, facilitating and possibly simplifying decisions involving optimisation and justification.  The study of variations in representative patient doses resulting from differences in equipment, radiographic technique and other factors encountered in different countries can be very instructive in radiation protection practice and will benefit from a standardised methodology.

This publication describes the ICRP approach to developing a standardised method for the determination of organ absorbed and effective dose coefficients for radiographic imaging for a range of examinations commonly performed on adults and children. Radiographic examinations for which coefficients have been developed were primarily chosen based on their frequency. The projections used in the simulations were defined in conjunction with expert clinical input as described in Section 3 and Annex B. The coefficients have been produced for the adult male and female ICRP reference voxel phantoms as well as for the suite of ICRP reference paediatric voxel phantoms.  This is the first set of such coefficients published by the Commission and the publication itself is the first of a series reporting organ absorbed and effective doses for various diagnostic x-ray modalities. Future publications will consider computed tomography, fluoroscopically guided interventional radiology and diagnostic paediatric fluoroscopy. The work will also be extended to consider the case of pregnant and non-reference patients when mesh rather than voxel format phantoms will be utilised.

Organ absorbed dose coefficients are provided for both male and female phantoms for well-defined exposure fields. Effective dose is a sex-averaged quantity so this publication also  provides, for each examination considered, a value of the coefficient for either  wT  ×HT  M  or   wT  ×HT  F, depending on whether the simulation of the examination is performed on the male or female phantom. As described in previous sections, the effective dose coefficient for an examination can be obtained by taking the average of the two.

The publication is aimed at all those who have an interest in patient dosimetry and optimisation, including national authorities responsible for dose calculations, medical physicists, research scientists, radiologists, radiographers and other radiological practitioners. For those readers who prefer an ‘off the shelf’ solution, dose coefficients are provided for a range of examinations and projections for a selection of common beam qualities. The dose coefficients are normalised to fluence, air kerma at 1 m and KAP.  They can be easily accessed using the dose viewer or from the electronic annex, as described in Annex D and Section 6 which provides worked examples. For those users who prefer to either fine-tune their results or explore the impact of novel beam qualities, monoenergetic coefficients are provided at 1 keV intervals in the electronic annex. These coefficients can be convolved with any x-ray spectrum the user chooses to derive the appropriate dose coefficients. Step by step instructions on this process are given in Section 6.2.

Uncertainties in the dose estimates resulting from factors such as phantoms, field size, Monte Carlo simulations, field positioning and the measurement of normalising quantities have all been discussed in Section 7, as have limitations in the interpretation of results. It is important to realise that these uncertainties and limitations cannot be ignored and should always be taken into account when using the methodology to evaluate patient doses.  A good understanding of the underlying principles is essential to avoid assigning a degree of precision to the dose estimates that is misleadingly high.

# References

Agostinelli, S., Allison, J., Amako, K., et al., 2003. Geant4—a simulation toolkit. Nucl. Instrum. Methods Phys. Res. A. 506, 250–303.

Allison, J., Amako, K., Apostolakis, J., et al., 2016. Recent developments in Geant4. Nucl. Instrum. Methods Phys. Res. A. 835, 186–225.

Berger, M.J., Hubbell, J.H., 1987. XCOM: photon cross sections on a personal computer. NBSIR 87-3597. National Bureau of Standards, Gaithersburg, MD.

Cassola, V.F., de Melo Lima, V.J., Kramer, R., et al., 2010. FASH and MASH: female and male adult human phantoms based on polygon mesh surfaces: I. Development of the anatomy. Phys. Med. Biol.  55, 133–162.

Cristy, M., Eckerman, K.F., 1987. Specific absorbed fractions of energy at various ages from internal photon sources, Part I-VII. ORNL Report TM-8381/V1-TM-8381/V7. Oak Ridge National Laboratory, Oak Ridge, TN.

Cullen, D., H. Hubbell, J., Kissel, L., 1997. EPDL97: the evaluated photo data library `97 version. Lawrence Livermore National Laboratory, Livermore, CA.

Dorfman, A.L., Fazel, R., Einstein, A.J., et al., 2011. Use of Medical Imaging Procedures With Ionizing Radiation in Children: A Population-Based Study. Arch. Pediatr. Adolesc. Med. 165, 458-464.

Drexler, G., Panzer, W., Widenmann, L., et al., 1985. Die Bestimmung von Organdosen in der Röntgendiagnostik. H. Hoffmann Verlag.

Drexler, G., Panzer, W., Widenmann, L., et al., 1990. The calculation of dose from external photon exposures using reference human phantoms and Monte Carlo methods, Part III: Organ doses in x-ray diagnosis. GSF-Report 11/90. GSF - National Research Center for Environment and Health, Neuherberg.

Drexler, G., Panzer, W., Stieve, F.-E., et al., 1993. Die Bestimmung von Organdosen in der Röntgendiagnostik. H. Hoffmann Verlag, Berlin.

European Commission, 2014. Medical Radiation Exposure of the European Population; Part 1/2. European Commission, Brussel.

European Commission, 2018. European guidelines on diagnostic reference levels for paediatric imaging. Report 185. European Commission, Brussel.

Hart, D., Jones, D.G., Wall, B.F., 1994a. Normalised organ doses for medical x-ray examinations calculated using Monte Carlo techniques. NRPB-SR-262. National Radiological Protection Board, Chilton.

Hart, D., Jones, D.G., Wall, B.F., 1994b. Estimation of effective dose in diagnostic radiology from entrance surface dose and dose-area product measurements. NRPB-R-262. National Radiological Protection Board, Chilton.

Hart, D., Jones, D.G., Wall, B.F., 1996a. Normalised organ doses for paediatric x-ray examinations calculated using Monte Carlo techniques. NRPB-SR-279, National Radiological Protection Board, Chilton, Didcot, UK.

Hart, D., Jones, D.G., Wall, B.F., 1996b. Coefficients for estimating effective doses from paediatric x-ray examinations. NRPB-R-279. National Radiological Protection Board, Chilton, Didcot, UK.

Hart, D., Wall, B.F., M.C., H., et al., 2010. Frequency and collective doses for medical and dental x-ray examinataions in the UK, 2008 (HPA-CRCE-012). Health Protection Agency, Chilton.  Available at: https://www.gov.uk/government/publications/medical-and-dental-x-rays-frequency-and-collective-doses-in-the-uk (last accessed 9 February 2024).

Hough, M., Johnson, P., Rajon, D., et al., 2011. An image-based skeletal dosimetry model for the ICRP reference adult male—internal electron sources. Phys. Med. Biol. 56, 2309–2346.

Hourdakis, C.J., Boziari, A., Manetou, A., 2010. PERFORMANCE EVALUATION OF DIAGNOSTIC RADIOLOGY DOSIMETERS IN CLINICAL AND CALIBRATION X-RAY BEAMS. Health Phys. 98, 704–716.

IAEA, T., 2007. 457 2007 Dosimetry in diagnostic radiology: An international code of practice ISSN 0074-1914. Technical Reports Series No 457. International Atomic Energy Agency, Vienna.

ICRP, 1975. Reference man: Anatomical, physiological and metabolic characteristics. ICRP Publication 23, Pergamon Press, Oxford.

ICRP, 1987. Protection of the patient in nuclear medicine. ICRP Publication 52. Ann. ICRP 17(4).

ICRP, 1991a. Radiation dose to patients from radiopharmaceuticals. Addendum 1 to ICRP Publication 53. ICRP Publication 62. Ann. ICRP 22(3).

ICRP, 1991b. 1990 Recommendations of the International Commission on Radiological Protection. ICRP Publication ICRP Publication 60. Ann. ICRP 21(1–3).

ICRP, 1992. Radiological Protection in Biomedical Research. . ICRP Publication 62. Ann. ICRP 22 (3).

ICRP, 1995. Basic anatomical and physiological data for use in radiological protection: the skeleton. ICRP Publication 70. Ann. ICRP 25(2)

ICRP, 1998. Radiation dose to patients from radiopharmaceuticals. ICRP Publication 80. Ann. ICRP 28(3),

ICRP, 2001. Doses to the embryo and fetus from intakes of radionuclides by the mother. ICRP Publication 88. Ann. ICRP 31(1–3)

ICRP, 2002. Basic anatomical and physiological data for use in radiological protection: reference values. ICRP publication 89. Ann. ICRP 32(3–4).

ICRP, 2004. Doses to infants from radionuclides ingested in mothers’ milk. ICPR Publication 95. Ann. ICRP 34(3–4).

ICRP, 2006. Assessing Dose of the Representative Person for the Purpose of the Radiation Protection of the Public. ICRP Publication 101a. Ann. ICRP 36 (3).

ICRP, 2007a. Managing patient dose in multi-detector computed tomography (MDCT). ICRP Publication 102. Ann. ICRP 37(1).

ICRP, 2007b. The 2007 Recommendations of the International Commission on Radiological Protection. ICRP Publication ICRP Publication 103. Ann. ICRP 37(2–4).

ICRP, 2008. Radiation dose to patients from radiopharmaceuticals. ICRP Publication ICRP Publication 106. Ann. ICRP 38(1–2).

ICRP, 2009. Adult reference computational phantoms. ICRP Publication ICRP Publication 110. Ann. ICRP 39(2).

ICRP, 2010. Conversion Coefficients for Radiological Protection Quantities for External Radiation Exposures. ICRP Publication 116. Ann. ICRP 40(2–5).

ICRP, 2013. Assessment of Radiation Exposure of Astronauts in Space. ICRP Publication 123. Ann. ICRP 42(4).

ICRP, 2015a. Occupational Intakes of Radionuclides: Part 1. ICRP Publication 130. Ann. ICRP 44(2).

ICRP, 2015b. Radiation Dose to Patients from Radiopharmaceuticals: A Compendium of Current Information Related to Frequently Used Substances. ICRP Publication ICRP Publication 128. Ann. ICRP 44(2S).

ICRP, 2016a. Occupational Intakes of Radionuclides: Part 2. ICRP Publication 134. Annals ICRP 45(3/4)

ICRP, 2016b. The ICRP computational framework for internal dose assessment for reference adults: specific absorbed fractions. ICRP Publication 133. Ann. ICRP 45(2).

ICRP, 2017. Occupational Intakes of Radionuclides: Part 3. ICRP Publication 137. Ann. ICRP 46(3–4).

ICRP, 2019. Occupational Intakes of Radionuclides: Part 4. ICRP Publication 141. Ann. ICRP 48(2–3).

ICRP, 2020a. Dose coefficients for external exposures to environmental sources. ICRP Publication 144. Ann. ICRP 49(2),

ICRP, 2020b. Paediatric Reference Computational Phantoms. ICRP Publication 143. Ann. ICRP 49(1).

ICRP, 2021. Use of Dose Quantities in Radiological Protection. ICRP Publication 147. Ann. ICRP 50(1).

ICRP, 2024a. Ethics in Radiological Protection for Patients in Diagnosis and Treatment. ICRP Publication 157, in press.

ICRP, 2024b. Practical Aspects in Optimisation of Radiological Protection in Digital Radiography, Fluoroscopy, and CT. ICRP Publication, unpublished.

ICRU, 1992. Photon, electron, proton and neutron interaction data for body tissues. ICRU Report 46. International Commission on Radiation Units and Measurements, Bethesda, MD.

ICRU, 2005. Patient dosimetry for x rays used in medical imaging. ICRU Report 74. J. ICRU 5,

IEC, 2020. Medical Electrical Equipment - Dose Area Product Meters. IEC 60580:2020. International Electrotechnical Commission, Geneva.

JCGM, 2008. International Vocabulary of metrology -Basic and general conepts and associated terms (VIM). Joint Committee for Guides in Metrology, Sévres.

Johnson, P.B., Bahadori, A.A., Eckerman, K.F., et al., 2011. Response functions for computing absorbed dose to skeletal tissues from photon irradiation - an update. Phys. Med. Biol. 56, 2347–2365.

Jones, D.G., Wall, B.F., 1985. Organ doses from medical x-ray examinations calculated using Monte Carlo techniques. NRPB Report 186. National Radiological Protection Board, Chilton.

Kawrakow, I., Mainegra-Hing, E., Rogers, D.W.O., et al., 2009. The EGSnrc code system: Monte Carlo simulation of electron and photon transport. PIRS Report 701. National Research Council of Canada, Ottawa.

Kramer, R., Khoury, H.J., Vieira, J.W., 2008. CALDose_X-a software tool for the assessment of organ and tissue absorbed doses, effective dose and cancer risks in diagnostic radiology. Phys. Med. Biol. 53, 6437–6459.

Kramer, R., Zankl, M., Williams, G., et al., 1982. The calculation of dose from external photon exposures using reference human phantoms and Monte Carlo methods, Part I: The male (Adam) and female (Eva) adult mathematical phantoms. GSF-Report S-885. GSF - National Research Center for Environment and Health, Neuherberg.

Kramer, R., Khoury, H.J., Vieira, J.W., et al., 2006. MAX06 and FAX06: update of two adult human phantoms for radiation protection dosimetry. Phys. Med. Biol. 51, 3331-3346.

Kramer, R., Cassola, V.F., Khoury, H.J., et al., 2010. FASH and MASH: female and male adult human phantoms based on polygon mesh surfaces: II. Dosimetric calculations. Phys. Med. Biol. 55, 163–189.

Le Heron, J.C., 1992. Effective dose in diagnostic radiology. J. Radiol. Prot. 12, 111–114.

Lee, C., Lamart, S., Moroz, B.E., 2013. Computational lymphatic node models in pediatric and adult hybrid phantoms for radiation dosimetry. Phys. Med. Biol. 58, N59–N82.

Lee, C., Lodwick, D., Hurtado, J., et al., 2010. The UF family of reference hybrid phantoms for computational radiation dosimetry. Phys. Med. Biol. 55, 339–363.

Malusek, A., Sandborg, M., Carlsson, G.A., 2016. Accurate KAP meter calibration as a prerequisite for optimisation in projection radiography. Radiat. Prot. Dosimetry 169, 353–359.

Martin, C.J., 2007. An evaluation of semiconductor and ionization chamber detectors for diagnostic x-ray dosimetry measurements. Phys. Med. Biol. 52, 4465–4480.

Martin, C.J., 2020. Effective dose in medicine. Ann. Ann. ICRP 49(S1), 126–140.

Martin, C.J., Sutton, D.G., Sharp, P.F., 1999. Balancing patient dose and image quality. Appl. Radiat. Isot. 50, 1–19.

Martin, C.J., Abuhaimed, A., Lee, C., 2021. Dose quantities for measurement and comparison of doses to individual patients in computed tomography (CT). J. Radiol. Prot. 41.

NCRP, 2019. Medical Radiation Exposure of Patients in the United States. NCRP Report 184. National Council on Radiation Protection and Measurements, Bethesda, MD.

Nelson, W.R., Hirayama, H., Rogers, D.W.O., 1985. The EGS4 code system. SLAC Report 265. Stanford Linear Accelerator Center, Stanford, CA.

NRC, 2006. Health risks from exposure to low levels of ionizing radiation: BEIR VII phase 2. The National Academies Press, Washington, DC.

Pafundi, D.H., 2009. Image-based skeletal tissue and electron dosimetry models for the ICRP reference pediatric age series. University of Florida, Florida, Gainesville, FL.

Perkins, S.T., Cullen, D., M. Seltzer, S., 1991. Tables and graphs of electron-interaction cross sections from 10 eV to 100 GeV derived from the LLNL Evaluated Electron Data Library (EEDL), Z = 1 to 100. UCRL-50400-Vol.31. Lawrence Livermore National Laboratory, Livermore, CA.

Petoussi-Henss, N., Zankl, M., Panzer, W., 2005. Estimation of organ doses in radiology using voxel models describing different patients. Biomed. Tech. (Berl). 50, 664–665.

Petoussi-Henss, N., Panzer, W., Zankl, M., et al., 1995. Dose-area product and body doses. Radiat. Prot. Dosim. 57, 363–366.

Petoussi-Henss, N., Zankl, M., Schlattl, H., et al., 2006. Organdosiskonversionsfaktoren für röntgendiagnostische Untersuchungen anhand von Monte-Carlo-Simulationen. In: Bogner, L., Dobler, B. (Eds.), Jahrestagung der Deutschen Gesellschaft für Medizinische Physik e.V, Regensburg.

Poludniowski, G., Landry, G., DeBlois, F., et al., 2009. SpekCalc: a program to calculate photon spectra from tungsten anode x-ray tubes. Phys. Med. Biol. 54, N433–N438.

Poludniowski, G.G., 2007. Calculation of x-ray spectra emerging from an x-ray tube. Part II. X-ray production and filtration in x-ray targets. Med. Phys. 34, 2175–2186.

Poludniowski, G.G., Evans, P.M., 2007. Calculation of x-ray spectra emerging from an x-ray tube. Part I. Electron penetration characteristics in x-ray targets. Med. Phys. 34, 2164–2174.

Rannikko, S., Ermakov, I., Lampinen, J.S., et al., 1997. Computing patient doses of X-ray examinations using a patient size- and sex-adjustable phantom. Br. J. Radiol. 70, 708–718.

Rosenstein, M., 1976. Organ doses in diagnostic radiology. Bureau of Radiological Health, Rockville, MD.

Rosenstein, M., 1988. Handbook of selected tissue doses for projections common in diagnostic radiology. Food and Drug Administration, Rockville, MD.

Rosenstein, M., Beck, T.J., Warner, G.G., 1979. Handbook of selected organ doses from projections common in paediatric radiology. Bureau of Radiological Health, Rockville, MD.

Sanchez, R., Vano, E., Fernandez Soto, J.M., et al., 2020. Updating national diagnostic reference levels for interventional cardiology and methodological aspects. Phys. Med. 70, 169–175.

Sato, K., Endo, A., Saito, K., 2008. Dose conversion coefficients calculated using a series of adult Japanese voxel phantoms against external photon exposures. JAEA-Data/Code 2008-016. Japan Atomic Energy Agency, Ibaraki.

Schlattl, H., Zankl, M., Becker, J., et al., 2012. Dose conversion coefficients for paediatric CT examinations with automatic tube current modulation. Physics in Medicine and Biology 57, 6309–6326.

Schultz, F.W., Geleijns, J., Zoetelief, J., 1994. Calculation of dose conversion factors for posterior-anterior chest radiography of adults with a relatively high-energy X-ray spectrum. Br. J. Radiol. 67, 775–785.

Schümann, J., Paganetti, H., Shin, J., et al., 2012. Efficient voxel navigation for proton therapy dose calculation in TOPAS and Geant4. Phys. Med. Biol. 57, 3281–3293.

Seidenbusch, M., Rösenberger, V., Schneider, K., 2019. Radiation Dose and Dose Reconstruction in Conventional Paediatric Radiology. In: Seidenbusch, M., Rösenberger, V., Schneider, K., Imaging Practice and Radiation Protection in Pediatric Radiology: Conventional Radiography. Springer International Publishing, Cham, pp. 25–44.

Servomaa, A., Tapiovaara, M., 1998. Organ Dose Calculation in Medical X Ray Examinations by the Program PCXMC. Radiat. Prot. Dosimetry 80, 213–219.

Snyder, W.S., Ford, M.R., Warner, G.G., et al., 1969. Estimates of absorbed fractions for monoenergetic photon sources uniformly distributed in various organs of a heterogeneous phantom. J. Nucl. Med. 10, 7–52.

Sutton, D.G., 2015. Catalogue of Diagnostic X-Ray Spectra and other Data: Electoronic Vesion, second ed. Institute of Physics and Engineering in Medicine, York.

Tapiovaara, M., Siiskonen, T., 2008. PCXMC, a Monte Carlo program for calculating patient doses in medical x-ray examinations. Radiation and Nuclear Safety Authority in Finland, Vantaa.

Toroi, P., Komppa, T., Kosunen, A., 2008a. A tandem calibration method for kerma–area product meters. Phys. Med. Biol. 53, 4941–4958.

Toroi, P., Komppa, T., Kosunen, A., et al., 2008b. Effects of radiation quality on the calibration of kerma-area product meters in x-ray beams. Phys. Med. Biol. 53, 5207–5221.

UNSCEAR, 2010. 2008 Report. Sources and Effects of Ionising Radiation. Volume 1, Annexe A Medial Radiation Exposures. United Nations Scientific Committee on the Effects of Atomic Radiation, New York.

UNSCEAR, 2022. Sources, Effects and Risks of Ionizing Radiation, United Nations Scientific Committee on the Effects of Atomic Radiation (UNSCEAR) 2020/2021 Report, Volume I : Report to the General Assembly, with Scientific Annex A - Evaluation of Medical Exposure to Ionizing Radiation. United Nations, New York.

Veit, R., Zankl, M., 1992. Influence of patient size on organ doses in diagnostic radiology. Radiat. Prot. Dosimetry 43, 241–243.

Veit, R., Zankl, M., 1993. Variation of organ doses in paediatric radiology due to patient diameter, calculated with phantoms of varying voxel size. Radiat. Prot. Dosimetry 49, 353–356.

Wayson, M.B., 2012. Computational Internal Dosimetry Methods as Applied to the University of Florida Series of Hybrid Phantoms. University of Florida, Florida, Gainesville, FL.

Whitley, A.S., Jefferson, G., Holmes, K., et al., 2015. Clark's Positioning in Radiography. Taylor & Francis, Boca Raton, FL.

Winslow, M., Huda, W., Xu, X.G., et al., 2004. Use of the VIP-Man model to calculate energy imparted and effective dose for x-ray examinations. Health Phys. 86, 174–182.

Worrall, M., Sutton, D.G., 2015. Developing a method and deriving an uncertainty budget for the internal calibration of dosemeters for radiographic equipment. J. Radiol. Prot. 35, 209–222.

Xu, X.G., Eckerman, K.F. (Eds.), 2010. Handbook of anatomical models for radiation dosimetry. CRC Press, Boca Raton, FL.

Yeom, Y.S., Wang, Z.J., Nguyen, T.T., et al., 2016. Development of skeletal system for mesh-type ICRP reference adult phantoms. Phys. Med. Biol. 61, 7054–7073.

Zankl, M., 1992. Computational models employed for dose assessment in diagnostic radiology. Radiat. Prot. Dosimetry 49, 339–344.

Zankl, M., 1993. Computational Models Employed for Dose Assessment in Diagnostic Radiology. Radiat. Prot. Dosimetry 49, 339–344.

Zankl, M., Wittmann, A., 2001. The adult male voxel model "Golem" segmented from whole body CT patient data. Radiat. Environ. Biophys. 40, 153–162.

Zankl, M., Fill, U., Petoussi-Henss, N., et al., 2002. Organ dose conversion coefficients for external photon irradiation of male and female voxel models. Phys. Med. Biol. 47, 2367–2385.

Zankl, M., Becker, J., Fill, U., et al., 2005. GSF male and female adult voxel models representing ICRP Reference Man - the present status. In: The Monte Carlo Method: Versatility Unbounded in a Dynamic Computing World: Monte Carlo 2005 topical meeting, 17–21 April 17-21 2005, Chattanooga, TN

# Dosimetric quantities used in patient dosimetry in radiography

## Organ absorbed dose and equivalent dose.

The mean absorbed dose averaged over the volume of organs and tissues is the primary scientific quantity from which effective dose, E, is calculated. Absorbed dose (D) is defined as the quotient of mean energy imparted, dℇ by ionising radiation in a volume element and the mass, dm, of the matter in that volume:

(A.1)

The international System (SI) of unit of absorbed dose is J kg−1 and its special name is gray (Gy). Absorbed dose is derived from the mean value of the stochastic quantity of energy imparted, , and does not reflect the random fluctuations of the interaction events in tissue. While it is defined at any point in matter, its value is obtained as an average over a mass element dm and hence over many atoms or molecules of matter.

When using the quantity absorbed dose in radiological protection, doses are averaged over tissue volumes. It is assumed that for low doses, the mean value of absorbed dose averaged over a specific organ or tissue can be correlated with radiation detriment for stochastic effects in that tissue with an accuracy sufficient for the purposes of radiological protection. The averaging of absorbed dose is carried out over the volume of a specified organ (e.g. liver) or tissue (e.g. active bone marrow) or the sensitive region of a tissue (e.g. endosteal surfaces of the skeleton).

Equivalent dose, HT to a tissue or organ is defined as:

HT =RwRDT,R 						(A.2)

where wR is the radiation weighting factor for radiation type R and DT,R is the mean absorbed dose from the incident radiation type R on the body for a tissue or organ T of the age-specified Reference Male or Female. Since wR is dimensionless, the SI unit for the equivalent dose is the same as for absorbed dose, J kg−1, and its special name is sievert (Sv). Values of wR are shown in Table A.1 and are taken from Publication 103 (ICRP, 2007).

Table A.1. ICRP radiation weighting factors (ICRP, 2007).

.

| Radiation Type | Radiation Weighting Factor, wR |
| --- | --- |
| Photons | 1 |
| Electrons and muons | 1 |
| Protons and charged pions | 2 |
| Alpha particles, fission fragments, heavy ions | 20 |
| Neutrons | Continuous function of neutron energy See Eq. 4.3 of Publication 103 (ICRP, 2007). |

## Effective dose

The effective dose, E, introduced in Publication 60 (ICRP, 1991) is the risk-related quantity in radiological protection and is defined as a weighted sum of organ equivalent doses. In accordance with the definition of effective dose in Publication 103 (ICRP, 2007), the effective dose is computed as:

(A.3)

where HTM and HTF are the equivalent doses to the tissues or organs T of the Reference Male and Female, respectively, and wT is the tissue weighting factor for target tissue T, with ΣwT = 1. The sum is performed over all organs and tissues of the human body considered to be sensitive to the induction of stochastic effects. Values of wT are given in Table A.2 (ICRP, 2007b). Since wR and wT are dimensionless, the SI unit for effective dose is the same as for absorbed and equivalent dose, J kg−1, and its special name is sievert (Sv).

Eq. A.3 is numerically the same as:

- E=EM +EF2						(A.4)

- where EM= wT  ×HT  Mand EF= wT  ×HT  F, respectively. In this document, these contributions are annotated as E103,AM and E103,AF, for the adult male and female phantoms, E103,15M, E103,15F, for the 15-year-old male and female, E103,10M, E103,10F for the 10-year-old etc. and are given at the tables of the electronic supplement. The effective dose can be obtained by taking the average of the two.

Effective dose (E) was originally introduced for the control of occupational exposures to external and internal sources of radiation. While the concept has remained essentially unchanged through Publication 60 (ICRP, 1991) to Publication 103 (ICRP, 2007), its use has been extended to members of the public of all ages, including in utero exposures of the foetus (ICRP, 2001, 2004, 2006). ICRP provides effective dose coefficients for situations of external and internal exposures of workers and members of the public, and for radiopharmaceutical administrations to patients, as reference values for use in prospective and retrospective dose assessments.

Table A.2. ICRP tissue weighting factors (ICRP, 2007).

| Tissue | wT | ∑ wT |
| --- | --- | --- |
| Bone-marrow, breast, colon, lung, stomach, remainder tissues (13*) | 0.12 | 0.72 |
| Gonads | 0.08 | 0.08 |
| Urinary bladder, oesophagus, liver, thyroid | 0.04 | 0.16 |
| Bone surface, brain, salivary glands, skin | 0.01 | 0.04 |

wT, tissue weighting factor.

*Remainder tissues: adrenals, extrathoracic (ET) regions of the respiratory tract, gall bladder, heart, kidneys, lymphatic nodes, muscle, oral mucosa, pancreas, prostate (male), small intestine, spleen, thymus, uterus/cervix (female).

The tissue weighting factors of Table A.2 are sex- and age-averaged values for all organs and tissues, including the male and female breast, testes, and ovaries (i.e. gonads: related to possible carcinogenic and heritable effects). This averaging implies that the application of this approach is restricted to the determination of effective dose in radiological protection (ICRP, 2007).

E is calculated for sex-averaged Reference Persons at specified ages as defined in Publication 89. The Publication 103 definition includes the specification of reference male and female anatomical phantoms for radiation transport calculations. While exposures may relate to individuals or population groups, E is calculated for Reference Persons exposed in the same way.

Effective dose (E), in units of sievert (Sv), is accepted internationally as the central radiological protection quantity and is used for regulatory purposes worldwide, providing a risk-adjusted measure of total body dose from both external and internal sources in relation to stochastic risks of cancer and hereditary effects, expressed in terms of detriment. Considering the uncertainties associated with risk projection to low doses or low dose rates, effective dose may be considered as an approximate indicator of possible risk, recognising also that lifetime cancer risk varies with age at exposure, sex, and population group. E has proved to be a valuable and robust quantity for use in the optimisation of protection and in setting of control criteria such as dose limits, constraints and reference levels for workers, research subjects or members of the public.

ICRP Publication 147 (ICRP, 2021) provides additional guidance for the use of effective dose to estimate risks, particularly in evaluating exposures of patients from medical procedures. In medical applications, estimates of effective dose can be used for comparing doses from different diagnostic and interventional imaging modalities (e.g. computed tomography and nuclear medicine) and exposure techniques that give different spatial distributions of radiation within the body tissues. In this context, effective dose is used to provide a generic indicator for classifying different types of medical procedure into broad risk categories for the purpose of communicating risks to clinicians and patients. Effective dose is also used to inform decisions on justification of patient diagnostic and interventional procedures, planning requirements in research studies, and evaluation of unintended exposures. In each of these cases, effective dose provides an approximate indicator of possible risk. Thus, effective dose can be used prospectively as an indicator of radiation detriment in justification decisions and when planning medical research studies involving radiation exposure, or retrospectively in assessments of accidental exposures.

Moreover, ICRP Publication 147 (ICRP, 2021) lists the situations for medical procedures for which effective dose is not recommended to be used: measurable quantities are used directly in applications comparing doses from particular procedures in different health centres, including the setting of diagnostic reference levels and in maintenance of patient records. For situations in which a single organ receives the majority of the dose, such as the breast in mammography or the thyroid from therapeutic administration of radioiodine, mean absorbed doses to the tissues of interest should be used rather than effective dose.

For communication of doses and associated health risks, the reader is referred to Publication 147 (ICRP, 2021).

## Air kerma and associated quantities

The kerma, K, for ionising uncharged particles, is given by

K=dEtrdm 						(A.4)

where dEtr is the mean sum of the initial kinetic energies of all the charged particles liberated in the mass (dm) of a material by the uncharged particles incident on dm. The unit of kerma is J kg−1, and has the special name gray (Gy). The quantity (dEtr) includes the kinetic energy of the charged particles emitted in the decay of excited atoms/molecules or in nuclear de-excitation or disintegration.

The air kerma-area product is the integral of the air kerma free-in-air (i.e. in the absence of backscatter) over the area of the x-ray beam in a plane perpendicular to the beam axis. In many medical publications and also this publication, the acronym used for this quantity is KAP (in this publication measured in mGy cm2). The ICRU notation for this quantity is PKA. The air kerma-area product is easily measurable and can be used as normalisation quantity to derive relevant dosimetric quantities, such as organ and effective doses, using dose coefficients.

The air kerma free-in-air at the reference plane is the air kerma from the incident beam on the central x-ray beam axis at the centre of a reference plane without backscatter. Air kerma free-in-air can be calculated from the x-ray tube output, where output is measured using a calibrated ionising chamber. It can be used to determine the incident air kerma (see ICRP Glossary).

The entrance surface air kerma is the air kerma at the skin at the surface where an x-ray beam enters the skin. It includes the contribution from backscattered photons.

The incident air kerma is the air kerma at the skin at the surface where an x-ray beam enters the skin when the contribution from backscattered photons is ignored.

## References

ICRP, 1991. 1990 Recommendations of the International Commission on Radiological Protection. ICRP Publication ICRP Publication 60. Ann. ICRP 21(1–3).

ICRP, 2001. Doses to the embryo and fetus from intakes of radionuclides by the mother. ICRP Publication 88. Ann. ICRP 31(1–3)

ICRP, 2004. Doses to infants from radionuclides ingested in mothers’ milk. ICPR Publication 95. Ann. ICRP 34(3–4).

ICRP, 2006. Assessing Dose of the Representative Person for the Purpose of the Radiation Protection of the Public. ICRP Publication 101a. Ann. ICRP 36 (3).

ICRP, 2007. The 2007 Recommendations of the International Commission on Radiological Protection. ICRP Publication ICRP Publication 103. Ann. ICRP 37(2–4).

ICRP, 2021. Use of Dose Quantities in Radiological Protection. ICRP Publication 147. Ann. ICRP 50(1).

# definitions of fields for the Projections considered

In the following the anatomical landmarks for field definition are shown for each examination. The fields are shown with their sizes at the centre of the phantoms.

As described in Section 3.3, the projections used in the simulations were defined using an iterative process as shown in Fig. 3.1. Typical field sizes and positioning for each projection was obtained initially from a standard textbook of radiography, intended to teach student radiographers the proper way to obtain radiographs (Whitley et al 2015). The information was then used, in conjunction with clinical input, to define initial positioning on the phantom.

For defining the field borders with respect to the phantoms, information on the rectangular prisms containing the organs under consideration was used, i.e. the minimum and maximum columns, rows and slabs occupied by the respective organs, together with the voxel dimensions. If specified in the geometry description, additional margins were added. For example, for a position ‘1–2 cm above dome of diaphragm’, 1.5 cm was added to the topmost coordinate of the liver. In this way, the minimum and maximum z-coordinates to be covered by the field were evaluated, and thus the field height and centre, where the latter marks the z coordinate of the radiation source. Next, the maximum extensions of the slab were assessed where the source z-coordinate is located. For anterior-posterior (AP) and postero-anterior (PA) projections, the minimum and maximum rows of that slab were assessed and for lateral projections, the minimum and maximum columns. These mark the entrance and exit points of the central beam with respect to the body. If use of an anti-scatter grid was assumed, the image receptor plane was assumed 10 cm away from the beam exit point; if no grid was to be considered, the exit point marked the location of the image receptor plane. The source coordinate was then assumed at the focus-to-receptor distance on the opposite side of the body. For the lateral field borders, the same method was applied as for the superior and inferior borders, i.e. use of the rectangular prism containing the organs considered and adding margins if needed. Thus, the field width and centre were assessed, where the centre marks the third source coordinate. The field size determined was assumed to be at the centre of the phantom, in a plane between the beam entrance and exit points into and from the body. Similarly, the irradiation fields shown on the phantoms at Annex A are at the centre of the phantoms.

The position of each projection was then assessed by two experienced radiologists and positioning and field definition amended until there was agreement between them that each one was representative of good technique.

  - Adult radiography

(B5) In adult radiography, anti-scatter grids are used for all examinations considered, thus causing a skin-to-detector distance of 10 cm.

Chest posterior-anterior (PA)

| Field height extension: | Extends from ca. 1 cm above clavicles and scapulae, down to lateral bottom of the rib cage (10th rib, costo-phrenic angles) |
| --- | --- |
| Field lateral extension; | Includes at least skin margins (in non-obese reference phantoms) and medial part (half) of the humeral head |
| Focus to detector distance, FDD: | 180 cm |
| Skin to detector distance, SDD: | 10 cm (grid) |

Adult male                                                        Adult female

Fig. B.1. Coronal images at the centre of the adult male and female phantoms showing the anatomical landmarks for chest posterior-anterior examination. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest.

Chest lateral (Lat)

| Field height extension: | Extends from ca. 1 cm above clavicles and scapulae, down to lateral bottom of the rib cage (10th rib, costo-phrenic angles) |
| --- | --- |
| Field lateral extension: | Should include at least skin margins (in non-obese reference phantoms) |
| Focus to detector distance, FDD: | 100 cm |
| Skin to detector distance, SDD: | 10 cm (grid) |

Adult male                               Adult female

Fig. B.2. Sagital images at the centre of the adult male and female phantoms showing the anatomical landmarks for chest lateral examination. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest.

Chest anterior-posterior (AP)

| Field height extension: | Extends from ca. 1 cm above clavicles and scapulae, down to lateral bottom of the rib cage (10th rib, costo-phrenic angles) |
| --- | --- |
| Field lateral extension: | Includes at least skin margins (in non-obese reference phantoms) and medial part (half) of the humeral head |
| Focus to skin distance, FSD: | 100 cm |
| Skin to detector distance, SDD: | 10 cm (grid) |

Adult male                                                                     Adult female

Fig. B.3. Coronal images at the centre of the adult male and female phantoms showing the anatomical landmarks for chest anterior-posterior examination. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest.

Pelvis anterior-posterior (AP)

| Field height extension: | From 3 cm above iliac crest down to lesser trochanter |
| --- | --- |
| Field lateral extension: | Should include the hips |
| Focus to detector distance, FDD: | 115 cm |
| Skin to detector distance, SDD: | 10 cm (grid) |

Adult male                                                 Adult female

Fig. B.4. Coronal images at the centre of the adult male and female phantoms showing the anatomical landmarks for pelvis anterior-posterior examination. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest.

Abdomen anterior-posterior (AP)

| Field height extension: | From 1-2 cm above dome of diaphragms down to 1-2 cm below symphysis pubis |
| --- | --- |
| Field lateral extension: | Should go approx. 2 cm beyond pelvis on either side (include skin margin except where widest) |
| Focus to detector distance, FDD: | 100 cm |
| Skin to detector distance, SDD: | 10 cm (grid) |

Adult male                                                    Adult female

Fig. B.5. Coronal images at the centre of the adult male and female phantoms showing the anatomical landmarks for abdomen anterior-posterior examination. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest.

Lumbar spine anterior-posterior (AP)

| Field height extension: | From T11 or ca. mid T10 down to half sacrum (above coccyx) |
| --- | --- |
| Field lateral extension: | Should include at least all of the sacro-iliac (SI) joints |
| Focus to detector distance, FDD: | 115 cm |
| Skin to detector distance, SDD: | 10 cm (grid) |

Adult male                                                            Adult female

Fig. B.6. Coronal images at the centre of the adult male and female phantoms showing the anatomical landmarks for lumbar spine anterior-posterior examination. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest.

Lumbar spine lateral  (Lat)

| Field height extension: | From T11 or ca. mid T10 down to half sacrum (above coccyx) |
| --- | --- |
| Field lateral extension: | Should extend approx. 2 cm beyond the bone on either side |
| Focus to detector distance, FDD: | 115 cm |
| Skin to detector distance, SDD: | 10 cm (grid) |

Adult male                           Adult female

Fig. B.7. Sagital images at the centre of the adult male and female phantoms showing the anatomical landmarks for lumbar spine lateral examination. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest.

Lumbar spine oblique (15° angulation)

| Field height extension: | From T11 or ca. mid T10 down to half sacrum (above coccyx) |
| --- | --- |
| Field lateral extension: | Should include at least all of the SI joints |
| Focus to detector distance, FDD: | 100 cm |
| Skin to detector distance, SDD: | 10 cm (grid) |

Adult male                                              Adult female

Fig. B.8. Coronal images at the centre of the adult male and female phantoms showing the anatomical landmarks for lumbar spine oblique (15°) examination. Left to right: the first image shows only the left skeletal landmarks and the second image adds the organs of interest. Note: the analogous right lumber spine oblique examination is not shown as the field positioning and size are similar.

Cervical spine anterior-posterior (AP) (10° cranial angulation)

| Field height extension: | From slightly above C1 down to T2 – superiorly avoid orbit |
| --- | --- |
| Field lateral extension: | Should include all soft tissue of the neck |
| Focus to detector distance, FDD: | 100 cm |
| Skin to detector distance, SDD: | 10 cm (grid) |

Adult male                                                                  Adult female

Fig. B.9. Top: coronal images at the centre of the adult male and female phantoms showing the anatomical landmarks for cervical spine anterior posterior (15° cranial angulation) examination. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest.

Bottom: image demonstrating the beam angulation on the male phantom.

Cervical spine lateral (Lat)

| Field height extension: | From slightly above C1 down to T1 |
| --- | --- |
| Field lateral extension: | Should include all soft tissue of the neck |
| Focus to detector distance, FDD: | 180 cm |
| Skin to detector distance, SDD: | 10 cm (grid) |

Adult male                           Adult female

Fig. B.10. Sagital images at the centre of the adult male and female phantoms showing the anatomical landmarks for cervical spine lateral examination. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest.

Thoracic spine anterior-posterior (AP)

| Field height extension: | From slightly above C7 down to slightly below L2 |
| --- | --- |
| Field lateral extension: | Should include approx. 5 cm margins on either side |
| Focus to detector distance, FDD: | 100 cm |
| Skin to detector distance, SDD: | 10 cm (grid) |

Adult male                                                                Adult female

Fig. B.11. Coronal images at the centre of the adult male and female phantoms showing the anatomical landmarks for thoracic spine anterior-posterior examination. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest.

Thoracic spine lateral (Lat)

| Field height extension: | From slightly above C7 down to slightly below L2 |
| --- | --- |
| Field lateral extension: | Field centre should be approx. 5 cm anterior to spinous process of T6/7 |
| Focus to detector distance, FDD: | 100 cm |
| Skin to detector distance, SDD: | 10 cm (grid) |

Adult male                            Adult female

Fig. B.12. Sagital images at the centre of the adult male and female phantoms showing the anatomical landmarks for thoracic spine lateral examination. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest.

## Paediatric radiography

(A6) For many examinations in paediatric radiography, anti-scatter grids are only used if the patient has at least a certain patient thickness (Knight, 2014). Hence, the skin to detector distance (SDD) depends on the age of the reference computational phantoms.

(A7) The male and female newborn, 1-, 5-, and 10-year-old phantoms are anatomically identical, except for their gender-specific organs and urinary bladder. Hence, for these ages only the male phantoms are shown in the following illustrations.

Chest anterior-posterior (AP)

| Field height extension: | Extends from ca. 1 cm above clavicles and scapulae, down to lateral bottom of the rib cage (10th rib, costo-phrenic angles) |
| --- | --- |
| Field lateral extension: | Includes at least skin margins (in non-obese reference phantoms) and medial part (half) of the humeral head |
| Focus to detector distance, FDD: | 100 cm |
| Skin to detector distance, SDD: | Anti-scatter grid for patient thickness of at least 20 cm (Knight, 2014). 0 cm (no grid) for newborn, 1-year and 5-year old 10 cm (grid) for 10-year and 15-year old |

Newborn 				          1-year old

5-year old                                                                   10-year old

Fig. B.13. Coronal images at the centre of the paediatric reference phantoms showing the anatomical landmarks for chest anterior-posterior examination. For newborn, 1-year, 5-year and 10-year old, the images for the male phantoms are shown. For 15-year old (third row), images for the male and female are shown. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest (continued on next page).

15-year male                                                        15-year female

Fig. B.13. (continued)

Chest posterior-anterior (PA) (5-year, 10-year and 15-year old)

| Field height extension: | Extends from ca. 1 cm above clavicles and scapulae, down to lateral bottom of the rib cage (10th rib, costo-phrenic angles) |
| --- | --- |
| Field lateral extension: | Includes at least skin margins (in non-obese reference phantoms) and medial part (half) of the humeral head |
| Focus to detector distance, FDD: | 180 cm |
| Skin to detector distance, SDD: | Anti-scatter grid for patient thickness of at least 20 cm (Knight, 2014) 0 cm (no grid) for 5-year old 10 cm (grid) for 10-year and 15-year old |

5-year old                                               10-year old

Fig. B.14. Coronal images at the centre of the paediatric reference phantoms showing the anatomical landmarks for chest posterior-anterior examination. For the 5-year and 10-year old, the images for the male phantoms are shown. For 15-year old (third row), images for the male and female are shown. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest (continued on next page).

15-year male                                                      15-year female

Fig. B.14. (continued)

Pelvis anterior-posterior (AP)

| Field height extension: | Extends from 3 cm above iliac crest down to slightly below lesser trochanter |
| --- | --- |
| Field lateral extension: | Should include the hips |
| Focus to detector distance, FDD: | 100 cm for newborn and 1-year old 115 cm for 5-year, 10-year and 15-year old |
| Skin to detector distance, SDD: | Anti-scatter grid for patient thickness of at least 13-14 cm (Knight, 2014) 0 cm (no grid) for newborn, 10 cm (grid) for 1-year, 5-year, 10-year and 15-year old |

Newborn                                                                     1-year old

Fig. B.15. Coronal images at the centre of the paediatric reference phantoms showing the anatomical landmarks for pelvis anterior-posterior examination. For newborn, 1-year, 5-year and 10-year old, the images for the male phantoms are shown. For 15-year old (third row), images for the male and female are shown. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest (continued on next page).

5-year old                                                            10-year old

15-year male                                                15-year female

Fig. B.15. (Continued)

Abdomen anterior-posterior (AP)

| Field height extension: | From 1-2 cm above dome of diaphragms down to approx. 1 cm below symphysis pubis |
| --- | --- |
| Field lateral extension: | Should go approx. 2 cm beyond pelvis on either side |
| Focus to detector distance, FDD: | 100 cm |
| Skin to detector distance, SDD: | Anti-scatter grid for patient thickness of at least 13-14 cm (Knight, 2014) 0 cm (no grid) for newborn 10 cm (grid) for 1-year, 5-year, 10-year and 15-year old |

Newborn                                                                1-year old

5-year old                                                     10-year old

Fig. B.16. Coronal images at the centre of the paediatric reference phantoms showing the anatomical landmarks for abdomen anterior-posterior examination. For newborn, 1-year, 5-year and 10-year old, the images for the male phantoms are shown. For 15-year old (third row), images for the male and female are shown. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest (continued on next page).

15-year male                                                15-year female

Fig. B.16. (Continued)

Lumbar spine anterior-posterior (AP)

| Field height extension: | From T11 or ca. mid T10 down to half sacrum (above coccyx) |
| --- | --- |
| Field lateral extension: | Should include at least all of the SI joints |
| Focus to detector distance, FDD: | 100 cm for newborn and 1-year old 115 cm for 5-year, 10-year and 15-year old |
| Skin to detector distance, SDD: | Anti-scatter grid for patient thickness of at least 13-14 cm (Knight, 2014) 0 cm (no grid) for newborn 10 cm (grid) for 1-year, 5-year, 10-year and 15-year old |

Newborn                                                         1-year old

Fig. B.17. Coronal images at the centre of the paediatric reference phantoms showing the anatomical landmarks for lumbar spine anterior-posterior examination. For newborn, 1-year, 5-year and 10-year old, the images for the male phantoms are shown. For 15-year old (third row), images for the male and female are shown. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest (continued on next page).

5-year old                                                             10-year old

15-year male                                                      15-year female

Fig. B.17. (Continued)

Lumbar spine lateral (Lat)

| Field height extension: | From T11 or ca. mid T10 down to half sacrum (above coccyx) |
| --- | --- |
| Field lateral extension: | Should extend approx. 2 cm beyond the bone on either side |
| Focus to detector distance, FDD: | 100 cm for newborn and 1-year old 110 cm for 5-year, 10-year and 15-year old |
| Skin to detector distance, SDD: | 10 cm (grid) for all ages (Knight, 2014) |

Newborn                                                    1-year old                                         5-year old

10-year old                                   15-year male                            15-year female

Fig. B.18. Sagital images at the centre of the paediatric reference phantoms showing the anatomical landmarks for lumbar spine lateral examination. For newborn, 1-year, 5-year and 10-year old, the images for the male phantoms are shown. For 15-year old, images for the male and female are shown. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest.

Thoraco-lumbar spine lateral (Lat) (newborn and 1-year old)

| Field height extension: | From C7 down to half sacrum (above coccyx); for newborn include cervical spine |
| --- | --- |
| Field lateral extension: | Should extend approx. 2 and 4 cm beyond the bone on the front and back, respectively |
| Focus to detector distance, FDD: | 100 cm |
| Skin to detector distance, SDD: | 10 cm (grid) (Knight, 2014) |

Newborn                                               1-year old

Fig. B.19. Sagital images at the centre of the newborn and 1-year old male phantoms showing the anatomical landmarks for thoraco-lumbar spine lateral examination. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest.

Scoliosis anterior-posterior (AP) (newborn and 1-year old)

| Field height extension: | From skull base down to proximal femurs |
| --- | --- |
| Field lateral extension | Should include all skeletal anatomy (without arms) |
| Focus to detector distance, FDD: | 110 cm |
| Skin to detector distance, SDD: | 0 cm (no grid) for the newborn; SDD: 10 cm (grid) (Knight, 2014) for 1-year-old |

Newborn                                                          1-year old

Fig. B.20. Coronal images at the centre of the newborn and 1-year old male phantoms showing the anatomical landmarks for scoliosis anterior-posterior examination. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest.

Scoliosis posterior-anterior (PA) (5-year, 10-year and 15-year old)

| Field height extension: | From skull base down to proximal femurs |
| --- | --- |
| Field lateral extension: | Should include all skeletal anatomy (without arms) |
| Focus to detector distance, FDD: | 180 cm |
| Skin to detector distance, SDD: | 10 cm (grid) for all ages (Knight, 2014) |

5-year old                                                                   10-year old

15-year male                                                         15-year female

Fig. B.21. Coronal images at the centre of the paediatric reference phantoms showing the anatomical landmarks for scoliosis posterior-anterior examination. For 5-year and 10-year old, the images for the male phantoms are shown. For 15-year old, images for the male and female are shown. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest.

Scoliosis lateral (Lat)

| Field height extension: | From skull base down to proximal femurs |
| --- | --- |
| Field lateral extension: | Should include all skeletal anatomy (without arms) |
| Focus to detector distance, FDD: | 110 cm for newborn and 1-year old 180 cm for 5-year, 10-year and 15-year old |
| Skin to detector distance, SDD: | 10 cm (grid) for all ages (Knight, 2014) |

newborn                                              1-year old                                        5-year old

10-year old                                      15-year male                                        15-year female

Fig. B.22. Sagital images at the centre of the paediatric reference phantoms showing the anatomical landmarks for scoliosis lateral examination. For newborn, 1-year, 5-year and 10-year old, the images for the male phantoms are shown. For 15-year old, images for the male and female are shown. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest.

Skull anterior-posterior (AP)

| Field height extension: | Includes all skull and mandible, for newborn and 1-year old also cervical spine |
| --- | --- |
| Field lateral extension: | Should include all skull and mandible |
| Focus to detector distance, FDD: | 110 cm |
| Skin to detector distance, SDD: | 10 cm (grid) for all ages (Knight, 2014) |

newborn                                                         1-year old

5-year old                                                                      10-year old

15-year male                                                                 15-year female

Fig. B.23. Coronal images at the centre of the paediatric reference phantoms showing the anatomical landmarks for skull anterior-posterior examination. For newborn, 1-year, 5-year and 10-year old, the images for the male phantoms are shown. For 15-year old (third row), images for the male and female are shown. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest.

Skull lateral (Lat)

| Field height extension: | Includes all skull and mandible, for neonate and 1-year old also cervical spine |
| --- | --- |
| Field lateral extension: | Should include all skull and mandible |
| Focus to detector distance, FDD: | 110 cm |
| Skin to detector distance, SDD: | 10 cm (grid) for all ages (Knight, 2014) |

newborn                                               1-year old                                        5-year old

10-year old                                     15-year male                                     15-year female

Fig. B.24. Sagital images at the centre of the paediatric reference phantoms showing the anatomical landmarks for skull lateral. For newborn, 1-year, 5-year and 10-year old, the images for the male phantoms are shown. For 15-year old (third row), images for the male and female are shown. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest.

Skull posterior-anterior (PA) (15° caudal angulation)

| Field height extension: | Includes all skull and mandible, for neonate and 1-year old also cervical spine |
| --- | --- |
| Field lateral extension: | Should include all skull and mandible |
| Focus to detector distance, FDD: | 110 cm |
| Skin to detector distance, SDD: | 10 cm (grid) for all ages (Knight, 2014) |

newborn                                                                       1-year old

5-year old                                                                         10-year old

Fig. B.25. Coronal images at the centre of the paediatric reference phantoms showing the anatomical landmarks for skull posterior-anterior (15° caudal angulation) examination. For newborn, 1-year, 5-year and 10-year old, the images for the male phantoms are shown. For 15-year old (third row), images for the male and female are shown. Left to right: the first image shows only the skeletal landmarks and the second image adds the organs of interest. For the 1-year old (fourth row), the angulation of the x-ray tube for this exposure is graphically demonstrated. This is similar for all other ages (Continued on next page).

15-year male                                                      15-year female

1-year old

Fig. B.25. (Continued)

  - Reference

Knight, S.P., 2014. A paediatric X-ray exposure chart. J. Med. Radiat. Sci.  61, 191–201.

# Application of skeletal fluence-to-dose response functions for photons in Monte Carlo radiation transport codes

## Skeletal dosimetry method of ICRP Publication 116

Bone dosimetry is different from dosimetry of other organs, for which the average absorbed dose in the whole organ is estimated. For bone dosimetry the active marrow (AM) dose, associated to the risk of ionising radiation-induced leukaemia and the endosteum (TM50) dose, associated to the risk of ionising radiation induced bone cancer is needed. These bone tissues reside in the skeletal spongiosa and medullary cavity. The spongiosa bone compartment consists of active marrow, inactive marrow, and trabecular bone in a spongious structure with dimensions of tens to hundreds micrometre range (Hough and Bolch, 2007; Hough et al., 2011).

According to the current ICRP recommendations (ICRP, 2007), the absorbed dose to different target tissues has to be assessed in the computation of the effective dose. These include the haematopoietically active bone marrow, and the skeletal endosteum. The former target region is taken as the non-adipose region of the bone marrow cavities within both spongiosa and medullary marrow cavities of the phantom skeleton, while the latter target region is taken to be the total marrow, localised within 50 μm of the bone trabeculae surfaces (TM50) and along the interior surfaces of the long bone medullary cavities. As described in Publications 110 and 116 (ICRP, 2009, 2010), the bone trabeculae and marrow cavities are tissue structures of the order of tens to hundreds of micrometres of thickness and extent, and thus cannot be fully modelled within the voxel resolution of either the reference adult or paediatric phantoms.

The marrow dose is enhanced because there are more photoelectric events in the trabecular bone (due to their higher atomic number Z) than in the marrow (lower Z), increasing the overall electron fluence from the trabecular bone into the marrow cavity, which consequently increases the marrow absorbed dose, compared to the situation of assumed secondary electron equilibrium. To address this Johnson et al (2011) calculated photon fluence-to-dose response functions (DRF) and dose enhancement factors (DEF) for an adult person using radiation transport methods in various bones, reconstructed by three-dimentioanl (3D) micro computed tomography (CT) images.

Consequently, absorbed and equivalent dose to these two target tissues are determined employing the concept of the DRF or DEF for photons as described in Annex D of Publication 116 (ICRP, 2010). Further detail on skeletal dosimetry can be found in Publication 144 (ICRP, 2020).

ICRP Publication 116 includes 2 annexes on skeletal dosimetry of the adult male and female phantoms for photons and neutrons, respectively. The annex dealing with photons briefly explains the method of calculation of DRF and consequently of DEF, and provides tables of these values. Similar techniques for application to the paediatric reference  phantoms have been developed and the respective values of DRF can be found at the ICRP Publication 155 (2024) as part of the electronic supplement and are based on work of Pafundi et al. (2010) and Wayson et al. (2012). The DRF of the adult phantoms applied for the calculations of the present publication are those appearing in ICRP Publication 116 [based on Johnson et al. (2011)] with some slight revisions which will be shortly described below.

The main aim of the present Annex is to help the user to implement the DRF or DEF to the Monte Carlo code by including code-specific instructions.

In a Monte Carlo program, the various regions are defined by their shape, position, material, and density. Normally the medium of a region of interest is homogeneously distributed through the region’s volume and the average dose to the whole volume is scored to estimate absorbed dose. Monte Carlo programs transporting photons only (i.e. without electron transport) enable the user to calculate the dose to the volume of interest using a track length or collision density estimator as described in Eq. D.4b and D.4a of ICRP Publication 116. For dose calculations using voxel phantoms, the track length estimator is preferred over the collision density estimator, as the number of voxels through which a photon is going will be larger than the number of voxels where a photon collision is taking place.

The spongiosa of a bone in the ICRP reference phantoms is composed of active marrow (AM), inactive marrow (IM), trabecular bone, cartilage, and miscellaneous tissues in a non-homogenous way. The targets of interest in the spongiosa region are the AM and the TM50, a mixture of active and inactive marrow. The mixture of active and inactive marrow is dependent on the bone site and age of the ICRP reference phantom. For adult reference phantoms, this can be derived from the information listed in ICRP Publication 110, Table 4.2, based on data of Cristy (1981). Since the range of the secondary electron is much smaller than the smallest size of the marrow-filled cavities, and the latter are much smaller than the size of the volume, the fluence-to-dose function can be used. For a bone compartment, x, assuming secondary electron equilibrium, the active marrow dose can be then calculated (ICRU, 2011) as:

DAM,x= (μenρ)AME Φ					(C.1)

where DAM,x is the absorbed dose to the active marrow in bone compartment, x, (μen/ρ)AM is the mass energy attenuation coefficient for active marrow, E is the photon energy and Φ is the photon fluence in this compartment. Note that both the mass energy attenuation coefficient and the fluence are dependent on the photon energy, E. In dosimetric calculations, the active marrow dose, can be expressed in terms of the photon energy distribution, ΦE, (ICRU, 2011) as:

DAM,x =(μenρ)AME ΦE  dE  				       (C.2)

For the calculation of the shallow marrow dose in the bone compartment, x, it is convenient to define the marrow cellularity factor, CFx, (Cristy, 1981) of this bone compartment, x:

CFx=VAM,xVAM,x  +VIM,x					 (C.3)

where VAM,x is the volume of active marrow in bone compartment, x and VIM,x is the volume of the inactive marrow in bone compartment, x. It is assumed that the cellularity, as defined by   Cristy (1981), CFx, for the whole bone compartment, x, remains valid within 50 μm of the bone trabeculae surfaces and along the interior surfaces of the long bone medullary cavities.

Eq. C.4 expresses the cellularity factor, CFx, using the target mass, which is the more relevant quantity for dosimetry:

CFx=MAM,xρAMMAM,x  ρAM+MIM,xρIM 					(C.4)

where MAM,x is the mass of active marrow in bone compartment, x, (in g), MIM,x is the mass of the inactive marrow in bone compartment, x, ρAM is the density of active marrow (in g/cm3), and ρIM is the density of inactive marrow (in g/cm3). Note, that the densities are assumed to be independent of the compartment x, as the blood content is not considered. The shallow marrow dose, with the same limitations, in bone compartment, x, can now be calculated using the mass-weighted active and inactive marrow dose, assuming that the cellularity is constant throughout the entire bone compartment, x:

DTM50,x=(CFx ρAM (μenρ)AM+(1-CFx  )ρIM(μenρ)IM(CFx ρAM+1-CFx  ρIM     E Φ 			(C.5)

For convenience, one can define (μenρ)AM as:

(μen  ρ)TM50=(CFx  ρAM (μenρ)AM+(1-CFx  )ρIM(μenρ)IM(CFx ρAM+1-CFx  ρIM 			(C.6)

The above equation is valid if secondary electron equilibrium exists. If this is not the case, a DRF can be used to derive absorbed dose for AM or skeletal endosteum (TM50), expressed as:

DAM,x=DRFE,AM,x ΦEdE				 (C.7)

DTM50,x=DRFE,TM50,x  ΦEdE		 	   (C.8)

An alternative method is the use of a DEF. In this case the absorbed doses are calculated as:

DAM,x=(μenρ)AM DEFE,AM,x E ΦE dE			       (C.9)

DTM50,x=(μenρ)TM50 DEFE,TM50,x E ΦEdE 		        (C.10)

It should be noted that, if the blood content is added to the AM and TM50, its contribution to the dose calculation should be considered. However, its influence on the doses is too small and has been neglected for the calculations presented in this publication.

If the electron range is in the range of the organ size or larger, the electron will quite likely escape the volume while other electrons will enter the volume; these electrons should, therefore, be transported and photon-only transport might or will no longer produce accurate results. This topic is, however, beyond the scope of this Annex, as it is not relevant for photon energy range of 10–150 keV, applicable to diagnostic x rays.

Johnson et al. (2011) have derived fluence-to-dose response functions and consequently dose enhancement factors by Monte Carlo calculations of photon and electron transport in 3D micro-CT images of various bone compartments. The results are dependent on the bone compartment and tallies per bone compartment have to be implemented in the code. In this way, active and shallow marrow dose in a bone compartment can be obtained.

To derive the total active marrow and shallow marrow or endosteum doses for an anthropomorphic phantom, the bone compartment doses are summed as weight fractions of the active marrow or endosteum cells, using, in case of the adult reference phantoms, the weight fractions of Table 4.2, ICRP Publication 110 (ICRP, 2009b), or Table 3.2 of ICRP Publication 116 (ICRP, 2010) and for the paediatric reference phantoms, Tables 3.3 to 3.8, of ICRP Publication 143 (ICRP, 2020).

## Refinements of the original fluence-to-dose response function sets for both adult and paediatric reference phantoms

This section describes the refinements of the DRF and DEF for adults which appear in ICRP Publication 116 (ICRP, 2010; Johnson et al., 2011). It has been observed that the DRF and DEF for the same bone and photon energy are not compatible in all cases. For a very limited number of cases at very low photon energies, some values of DRF indicate erroneously a negative dose enhancement, i.e. a dose reduction. To correct this, these DEF values are set to 1.0, assuming secondary electron equilibrium. This correction has also been applied to recalculate the active and inactive marrow kerma coefficients appearing at Table 5 of Johnson et al. (2011). Thus, the use of either the DRF or DEF method would result to the same values of AM and TM50 doses.

Since the elementary composition of active and inactive marrow is age-independent and consequently the respective kerma coefficients are also age-independent, a similar correction for negative values of dose enhancements could also be applied to the paediatric DRF of Wayson et al. (2012). The revised set of DRF for all phantoms/ages can be found at the electronic supplement of ICRP Publication 155 (ICRP, 2024b).

## Implementation of fluence-to-dose response functions and dose enhancement factors to some Monte Carlo codes used in medical physics

The next subsections describe examples of the implementation of DRF and DEF into the Monte Carlo radiation transport code systems used for the calculation of the radiographic dose coefficients presented in this work, i.e. GEANT4 (Geometry and Tracking, version 4) and EGSnrc (Electron Gamma Shower National Research Council of Canada) and EGSnrc (Electron Gamma Shower National Research Council of Canada). They also describe the implementation in MCNP (Monte Carlo N-Particle Transport Code), which was employed by a further work of ICRP Task Group 113 for the calculations of dose coefficients for computed tomography (ICRP Publication, in preparation). This section is aimed to help potential users for their implementation and employs code-specific terms which are not explained here but are well known to the Monte Carlo code users, to whom this section is addressed. Some further practical guidance and technical hints for incorporating the DRF and DEF into various types of radiation transport codes can be found at Zankl et al.  (2021).

MCNP

MCNP transporting only photons (MODE P), without electron transport, enables the user to calculate the dose in a volume with a track length estimator (Werner et al., 2017; Werner et al., 2018) , by using tally 6 and the identification (ID) number characterising this volume or cell. If the range of the secondary electron is much smaller than the smallest volume dimension, this will give an accurate estimate:

- F6:P IDvolume

The MCNP output will then give the absorbed dose in volume IDvolume in units of MeV g−1 or, if multiplied with 1.602×10−10, in SI units of Gy or J kg−1. The F6 card denotes that the track length estimator tally is used for absorbed dose averaged over a cell or volume with ID number, IDvolume.

Most Monte Carlo radiation transport codes offer convenient ways for calculating, for instance, the air dose in a cell that contains Polymethyl methacrylate (PMMA) or water, as it is a situation that is quite common. This means that the Monte Carlo radiation transport code allows to transport radiation particles through a medium (material) X and multiplying the track length at every step with the fluence-response function for a desired dose quantity in medium Y. For MCNP, tally 4, which is a track length estimator tally like F6 but without the default dose multipliers, is employed to derive a photon fluence that can be used to calculate the active marrow dose with the ‘FM’ card (i.e. a tally multiplier) as outlined in MCNP6.2 user Manual

- (Werner et al., 2017; Werner and al, 2018), see example 5:

- When the material is not present in the model, rads can be obtained from type 1, 2, 4, and 5 tallies by using an FM card where c is equal to the factor above times No η×10−24/A, where No is Avogadro’s number and η and A are the number of atoms/molecule and the atomic weight, respectively, of the material of interest. This value of c equals ρa/ρg as discussed in Section 5.3.4 of the MCNP5 Theory Manual (Ref X-5 Monte Carlo Team, 2008). The implicit assumption when the material is not present is that it does not affect the radiation transport significantly. In the reaction list on the FM card, you must enter −4 1 for neutron heating and −5 −6 for photon heating. For both F4 and F6, if a heating number from the data library is negative, it is set to zero by the code.

- This limitation, stated in the above mentioned manual and considered not to significantly affect radiation transport, is in this case not applicable, as the material or tissue is present but in conjunction with other materials. The only assumption in this case is that the active marrow is distributed homogeneously through the volume. The MCNP input file should contain:

F4:P IDvolume

C Track length estimator (F4) for photons (:P) for cell IDvolume

FM4  1.62840E-11 999 (-5 -6)

C Tally multiplier (FM4)

C Multiplier constant:                             1.62840E-11 =

C    Conversion factor from (MeV/g) to (J/kg=Gy):  1.60218E-10 *

C    Atomic density (Table 50/60) (atoms/barn-cm): 1.04686E-01 /

C    Gram density (Table 50 or 60) (g/cm**3):      1.03000E+00

C material number 999 (see also M999 card below)

C Reaction list (-5 -6)

C    Photon total cross section (-5) times

C    Photon heating number (-6) is the total energy deposited

M999 1000 -0.105 6000 -0.414 7000 -0.034 8000 -0.439 11000 -0.001

12000 -0.002 15000 -0.002 16000 -0.002 26000 -0.001

C Material 999 has elemental composition of:

C    0.105 H, 0.414 C, 0.034 N, 0.439 O, 0.001 Na, 0.002 Mg,

C    0.002 P, 0.002 S, 0.001 Fe

C Active marrow without blood; Table 13.4 (ICRP, 2002) ρ=1.03 g/cm3 C (ICRU, 1989)

PRINT 50 60

In the above MCNP input, the lines starting with a ‘C’ are comment lines, intended for the information of the reader but not interpreted by the code. It is easy to calculate the FM card value of 1.62840×10−11, using the conversion factor for MeV g−1 to J kg−1 or Gy of 1.602×10−10, times the atomic density, divided by the density of material M999, (in this case, of red bone marrow or active bone marrow (ICRU, 1989)). This is given in g cm−3 in the column indicating the gram density, as shown in Table 50 or 60 of the MCNP output using the ‘PRINT 50 60’ card. The ‘M’ card indicates the integer material number directly followed by space separating the elementary composition of the material denoted in pair numbers. The first number is an integer denoting the atomic number times 1000. The second negative number expresses as absolute value the mass fraction of this element to the material. The total sum of mass fractions of the elements should be one (1.0) or, if this is not the case, MCNP will provide the normalisation to 1.0 and print a warning message that the material was not normalised.

If the electron range becomes larger but is still much smaller than the smallest volume size, the assumption of electron range being much smaller than the marrow cavity size is no longer valid. This is the case for the diagnostic x-ray energy range with photon energies up to 150 keV: the photoelectrons could then have energies up to 150 keV, with a continuous slowing down approximation range in water of 281.7 µm [Table B.1, page 91 of ICRU Report (1997)]. This photoelectron range is comparable to the mean pathlengths in the marrow cavities of the various bones of an adult male person which range between 154 and 1913 µm (Hough et al., 2011).

From these dose response functions, DEF can be evaluated (Johnson et al., 2011) and these can be used with the MCNP tally 4 in order to modify the calculated dose by multiplying those with these DEF. An example is shown below for the active marrow dose and cranium spongiosa bone compartment [with volume ID number of 27 (ICRP, 2009b)].

F4:P 27

FM4  1.62840E-11 999 (-5 -6)

DE4  0.008  0.010  0.015  0.02   0.03   0.04   0.05

0.06   0.08   0.10   0.15   0.20   0.30

DF4  1.0000 1.0107 1.0349 1.0663 1.1286 1.2059 1.2472

1.2417 1.1686 1.1130 1.0217 1.0071 1.0000

C Active Marrow DEF for cranium; according to Table 6, (Johnson et al., 2011).

M999 1000 -0.105 6000 -0.414 7000 -0.034 8000 -0.439 11000 -0.001

12000 -0.002 15000 -0.002 16000 -0.002 26000 -0.001

C Active marrow without blood; Table 13.4 (ICRP, 2002); ρ=1.03 g/cm3 C (ICRU, 1989)

PRINT 50 60

The ‘FM’ card and the ‘M’ card are as explained above. The ‘DE’ card gives the photon energies in MeV units with the DEF given as a fraction on the corresponding position on the ‘DF’ card. The log-log interpolation technique is used to calculate the DEF for an arbitrary photon energy, E. Lines beginning with a ‘C’, followed by spaces are comment lines. The PRINT card asks the MCNP program to display the table of the corresponding argument numbers. Tables 50 and 60 are used to calculate the first argument on the ‘FM’ card. If the second argument on the ‘FM’ card, indicating the material card number, is not used in any MCNP cell, then a virtual cell with this material should be added to the MCNP input which is far away in the ‘outside world’ i.e. outside the region of interest, and thus no photon can reach it. In this way, this cell does not contribute to the Monte Carlo calculated results but it is contained in the MCNP set-up tables.

As not all Monte Carlo radiation transport codes have the option to tally a region for another material, and the present document intends to provide guidance for the most used codes, the DRF are used, as defined in Johnson et al. (2011) and ICRP Publication 116 (2010). The above example for cranium and spongiosa bone compartment and the respective dose enhancement of the latter is expressed in MCNP format, using DRF and converting the unit Gy m2 into Gy cm2, as required by MCNP.

F4:P 27

DE4  0.010     0.015     0.02      0.03      0.04      0.05

0.06      0.08      0.10      0.15      0.2       0.3

0.4       0.5       0.6       0.8       1.0       1.5

2.0       3.0       4.0       5.0       6.0       8.0

10.0

DF4  6.207E-12 2.673E-12 1.478E-12 6.755E-13 4.439E-13 3.630E-13

3.399E-13 3.663E-13 4.386E-13 6.656E-13 9.503E-13 1.484E-12

2.025E-12 2.543E-12 3.037E-12 3.951E-12 4.783E-12 6.563E-12

8.076E-12 1.070E-11 1.309E-11 1.537E-11 1.764E-11 2.217E-11

2.689E-11

C Active Marrow DRF for cranium; according to Johnson et al. (2011), C Table 1.

The ‘F4’ card indicates a track length estimation of the cell or volume with the ID number as the first argument. The integer number following the F is the tally ID number, in this case the number 4. The ‘:P’ that follows this integer tally ID number, indicates to use the tallying (i.e. scoring) of photons only. The ‘DE’ card gives, as previously, the photon energies in MeV within the corresponding position and the ‘DF’ card returns the DRF in Gy cm2. The number directly following the ‘DE’ and ‘DF’ is the tally ID. Again, log- log interpolation is used to derive the DRF for an arbitrary photon energy, E.

PHITS

The Particle and Heavy Ion Transport code system, PHITS (Particle and Heavy Ion Transport code System) (Sato et al., 2023) is a general-purpose Monte Carlo radiation transport code that can simulate the behaviour of most particle species with energies up to 1 TeV (per nucleon for ions). The code is maintained by the Japan Atomic Energy Agency and is available free of charge upon request.

Photon transport in PHITS is performed using the Evaluated Photon Data Library 1977 Version, EPDL97 (Cullen et al., 1997b), which includes photon interaction data for all elements from atomic number 1 to 100 with photoionisation, photoexcitation, coherent and incoherent scattering, and pair-production cross sections, in the energy range from 1 keV to 1 GeV at default settings. In addition, the EGS5 model (Hirayama et al., 2005) is recommended  to be used for the simulation that transports both photons and electrons.

To compute active-marrow and endosteum doses at each bone component using DRF and DEF, a calculation of photon fluence at each site is required. The ICRP reference phantom defines bone components with their volume and elemental composition, and PHITS reads this information with unique IDs for the regions and materials, which are referred to as cell ID and material ID, respectively. PHITS subsequently implements photon-transport simulation and calculates the photon fluence at each site designated by the cell ID using a track length estimator.

The track length estimator is defined at ‘[T-track]’ section in the PHITS input. Within a single ‘[T-track]’ section, multiple evaluation cites can be specified using cell IDs. The energy bins for scoring of the photons are also set in this section. If the parameter ‘unit’ is set to 2, photon fluence is selected as an output in units of photons MeV−1 cm−2 source−1, which can be then used as the photon fluence ΦE in Eqs C.7–C.10 given above. The fluence is then used to compute the active marrow and endosteum doses via post-processing. The post-processing method has the advantage that, in case of eventual future revisions of the DRF an d DEF values, the skeletal doses could be re-evaluated, using the photon fluence without recalculation by a Monte Carlo simulation.

In addition, PHITS has the ability to calculate active marrow and endosteum doses on-the-fly. The advantage of the on-the-fly processing is that the photon energy is precisely known with no information lost due to energy binning. The values of DRF and DEF as a function of photon energy are given for each material specified by material ID in ‘[Multiplier]’ section of the PHITS input. The method used to interpolate between data points, such as log-log or linear-linear interpolation, is also described in this section. These multiplier data are called by the multiplier subsection in the ‘[T-track]’ Section, and the photons scored by the track length estimator are multiplied by a factor corresponding to their energy.

By using the on-the-fly processing feature of PHITS and setting the photon-fluence unit to photons cm−2 source−1 without energy binning in the ‘[T-track]’ Section, the track length estimator directly evaluates the doses at the bone sites in units of Gy. The total active marrow and endosteum doses for the whole skeleton can then be obtained via post-processing by summing the doses at each site, considering the weight fraction of the active marrow and endosteum.

GEANT4

While the MCNP and PHITS codes provide specific functions (e.g. DE/DF cards in MCNP and Multiplier in PHITS) that can implement the DRF on-the-fly calculations combined with the respective track length estimators (e.g. ‘F4’ tally in MCNP and ‘[T-track]’ in PHITS), specific functions for DRF implementation are not provided in the Geant4 code. Geant4 users should therefore, develop their own functions. As an example, the approach used for the implementation of DRF in the Geant4 code for the development of the dose coefficients presented in this publication is explained in this section.

For the implementation of the DRF a new Geant4 class was derived from the G4VPrimitiveScorer class, which is the abstract class of all score classes pre-defined in the Geant4 code such as G4PSTrackLength, G4PSCellFlux, G4PSDoseDeposit, etc. The main purpose of the new class is to modify the ‘ProcessHits’ function, which is the key member function originated from the G4VPrimitiveScorer class in order to implement the DRFs on-the-fly calculations. The ProcessHits function is invoked when the current step of a transported particle occurs in the volume of the reference phantom which was previously assigned as a sensitive detector volume in the DetectorConstruction class for the phantom implementation (derived from G4VUserDetectorConstruction class).

The ProcessHits function first checks if the particle for the step is a photon by calling the GetDefinition function in the GetTrack function in the G4Step class. If this is not the case, it returns FALSE to quit the ProcessHit function and moves to the next step. If yes, the ProcessHit function subsequently checks if the step occurs in one of the spongiosa regions by calling and checking the voxel ID. If no, it returns FALSE again but if yes, the ProcessHit function calculates a step length (the distance between the pre-step point and post-step point) by calling the GetStepLength function in the G4Step class. Then, the calculated step length is divided by the volume of the corresponding spongiosa region to derive the photon fluence. The fluence at the given photon energy is multiplied by the corresponding values of the DRF, determined using the log-log interpolation, to calculate the absorbed dose to the red bone marrow (RBM) and endosteum, respectively. Finally, the calculated values of the skeletal doses for each step are summed up using the G4THitsMap class.

It is worth noting that the DRF values show linear characteristics under log-log fitting. Thus, it is more reasonable to get a value via a log-log interpolation, rather than a single log interpolation, especially when extrapolating beyond the provided energy bins (Lee et al., 2006).

EGSnrc

The implementation of DRF in EGSnrc or DOSxyznrc requires some non-trivial changes in the user code, since there is no pre-defined macro to compute the photon fluence in an organ or tissue. With user codes being very different, an approximate scheme is provided below, rather than specific code fragments.

The basis to implement DRF in EGSnrc is to compute the fluence in the different skeletal regions using an estimator such as the collision-density or track-length estimator described e.g. in Annex D of ICRP Publication 116 (ICRP, 2010). The most suitable position to implement any of these estimators is using AUSGAB (an essential subroutine programmed by the user) connected with suitable IAUSFL-elements set to 1.

A major challenge in EGSnrc in order to use any of these estimators, is the implementation of bound Compton-scattering by a rejection method i.e. not in all cases, where EGSnrc signals that a Compton-scatter interaction is going to take place, this interaction actually occurs. Thus, these signals cannot be used without caution to determine the end of a particle track, as required by the track-length estimator or to count the interactions, as required by the collision-density estimator. Therefore, using those flags that lead to a call of AUSGAB before an interaction is made, is potentially not useful. The preferred method seems to be setting those IAUSFL-elements that lead to a call of AUSGAB after an interaction takes place, as then rejected Compton interactions can be identified (by NP = NPold). This requires, however, more book-keeping of the particle history, e.g. to provide the photon energy before an interaction also after the interaction took place.

Furthermore, the rejection method for bound Compton scattering also means that the linear-attenuation coefficients used by EGSnrc itself for the transport are different from the actual linear-attenuation coefficient, and thus cannot be used for the collision-density estimator. Thus, for this fluence estimator, the actual linear-attenuation coefficients have to be obtained from other sources [e.g. XCOM/NIST (Berger et al., 1990, 1998)].

With the fluence available from any suitable estimator, the computation of the red-bone and endosteum dose is easily performed by multiplying it with the appropriate DRF values.

## References

Berger, M.J., Hubbell, J.H., Seltzer, S.M., et al., 1990, 1998. NIST Standard Reference Database 8 (XGAM). National Institute of Standards and Technology, Gaithersburg, MD.

Cristy, M., 1981. Active bone marrow distribution as a function of age in humans. Phys. Med. Biol. 26, 389–400.

Cullen, D.E., Hubbell, J.H., Kissel, L., 1997. EPDL97: The Evaluated Photon Data Library, '97 Version.UCRL-50400, 6, Rev. 5. Lawrence Livermore National Laboratory, Livermore, CA.

Hirayama, H., Namito, Y., Bielajew, A.F., et al., 2005. The EGS5 code system. SLAC-R-730 and KEK Report 2005-8. High Energy Accelerator Research Organization, Ibaraki.

Hough, M., Johnson, P., Rajon, D., et al., 2011. An image-based skeletal dosimetry model for the ICRP reference adult male—internal electron sources. Phys. Med. Biol. 56, 2309–2346.

ICRP, 2002. Basic anatomical and physiological data for use in radiological protection: reference values. ICRP publication 89. Ann. ICRP 32(3–4).

ICRP, 2009. Adult reference computational phantoms. ICRP Publication 110. Ann. ICRP 39(2),

ICRP, 2010. Conversion Coefficients for Radiological Protection Quantities for External Radiation Exposures. ICRP Publication 116. Ann. ICRP 40(2–5).

ICRP, 2020. Dose coefficients for external exposures to environmental sources. ICRP Publication 144. Ann. ICRP 49(2).

ICRP, 2024. Specific Absorbed Fractions for Paediatric Individuals. ICRP Publication 155, in press.

ICRU, 1989. Tissue substitutes in radiation dosimetry and measurement. ICRU Report 44. International Commission on Radiation Units and Measurements, Bethesda, MD.

ICRU, 1997. Dosimetry of external beta-rays for radiation protection. ICRU Report 56. International Commission on Radiation Units and Measurements, Bethesda, MD.

ICRU, 2011. Fundamental quantities and units for ionizing radiation. ICRU Report 85a. International Commission on Radiation Units and Measurements, Bethesda, MD.

Johnson, P.B., Bahadori, A.A., Eckerman, K.F., et al., 2011. Response functions for computing absorbed dose to skeletal tissues from photon irradiation - an update. Phys. Med. Biol. 56, 2347–2365.

Lee, C., Lee, C., Shah, A.P., et al., 2006. An assessment of bone marrow and bone endosteum dosimetry methods for photon sources. Phys. Med. Biol. 51, 5391–5407.

Pafundi, D., Rajon, D., Jokisch, D., et al., 2010. An image-based skeletal dosimetry model for the ICRP reference newborn:internal electron sources. Phys. Med. Biol. 55, 1785–1814.

Sato, T., Iwamoto, Y., Hashimoto, S., et al., 2023. Recent improvements of the particle and Heavy Ion transport code system – PHITS version 3.33. J. Nucl. Sci. Technol. 61, 127–135.

Wayson, M.B., Lee, C., Sgouros, G., et al., 2012. Internal photon and electron dosimetry of the newborn patient - a hybrid computational phantom study. Phys. Med. Biol. 57, 1433–1457.

Werner, C.J., Bull, J.S., Solomon, C.J., et al., 2018. MCNP6.2 Release Notes. LA-UR-18-20808. Los Alamos National Laboratory, Los Alamos, NM.

Werner, C.J., Armstrong, J., Brown, F.B., et al., 2017. MCNP User's Manual - Code Version 6.2. LA-UR-17-29981. Los Alamos National Laboratory, Los Alamos, NM.

Zankl, M., Eakins, J., Gómez Ros, J.-M., et al., 2021. The ICRP recommended methods of red bone marrow dosimetry. Radiat. Meas. 146, 106611

# electronic supplement

The supplement, which is available for download with this Publication, is organised into 19 main folders, each for a projection considered – see Section 3 for projections. Each main folder has two subfolders: one tabulating the dose coefficients in 1 keV bins as dose per fluence at 1 m from the source; the second folder provides dose coefficients for selected bremsstrahlung spectra -see Section 5 for spectra considered. These coefficients are reported as doses per Kerma Area Product, KAP (PKA), per air kerma free-in-air at 1 m distance from the source and per fluence at 1 m distance from the source. All data are given in Microsoft excel spreadsheets as well as in ASCII files.

Data are given separately for each age group and for the male and female phantoms. Organ absorbed dose coefficients are given for the following organs: red bone marrow (R-marrow), colon, lung, stomach (ST-wall), breast, ovaries or testes (gonads), bladder (UB-wall), oesophagus, liver, thyroid, skeletal endosteum (Endost-BS), brain, salivary glands (S-glands), skin, remainder tissues: adrenals, extrathoracic (ET) region, gall bladder (GB-wall,) heart (Ht-wall), kidneys, lymphatic nodes, muscle, oral mucosa (O-mucosa), pancreas, prostate, small intestine (SI-wall), spleen, thymus, uterus/cervix and lens of the eye.

For the data of monoenergetic photons as well as the data for the selected spectra, coefficients for wT  ×HT  M  and   wT  ×HT  F are provided, (denoted E103, xxM and E103, xxF as described in paragraph 20 and annex A). For the selected spectra, values of ( wT  ×HT  M  +   wT  ×HT  F /2) are also given (as an effective dose coefficient). Note, that the latter are compatible with the definition of effective dose as per Publication 103 if the user chooses the same value of normalisation quantity for male and female examinations.

The dose coefficients for the selected bremsstrahlung spectra are also available as part of the ICRP dose viewer which is an application freely available at the Apple App and Google Play store.

# Acknowledgements

This is the first publication from ICRP Task Group 113 on Reference Organ and Effective Dose Coefficients for Common Diagnostic X-Ray Imaging Examinations. Task Group 113 is a joint Task Group of ICRP Committees 2 and 3 and was established in May 2019. This publication deals with exposures in diagnostic radiography, upcoming publications of the Task Group will cover computed tomography, paediatric diagnostic fluoroscopy and fluoroscopically guided interventions. This is the first time that ICRP has published reference dose coefficients for these types of exposures.

ICRP thanks all those involved in the development of this publication for their hard work and dedication. We gratefully acknowledge Martin Andersson for including the dose coefficients of the spectral beams to the ICRP Viewer. Special thanks to Thomas Otto, ICRU observer to Committee 2, for reviewing the manuscript and to Daiki Satoh for his input on skeletal dosimetry.

Task Group 113 members (2019–present)

| N. Petoussi-Henss (Co-Chair) | K. Jones | D.L. Miller |
| --- | --- | --- |
| D. Sutton (Co-Chair) | C.H. Kim | H. Schlattl |
| K. Applegate | C. Lee | I. Sechopoulos |
| W.E. Bolch | J. Li | K. Wunderle |
| D. Borrego | S. Mann | Y. S. Yeom |
| J.T.M. Jansen | E. Marshall | M. Zankl |

Task Group 113 technical secretary

B. Brevitt

Committee 2 Critical Reviewer

A. Giussani

Committee 3 Critical Reviewer

C.J. Martin

Main Commission Critical reviewers

D. Laurier			W. Rühm

Editorial members

C.H. Clement (Scientific Secretary and Annals of the ICRP Editor-in-Chief)

T. Yasumune (Assistant Scientific Secretary and Annals of the ICRP Associate Editor)

(2022–2024)

K. Nakamura (Assistant Scientific Secretary and Annals of the ICRP Associate Editor)

(2024–)

Committee 2 members during preparation of this publication

(2017–2021)

| J.D. Harrison (Chair) F. Paquet (Vice-Chair) W.E. Bolch (Secretary) M. Antonia Lopez V. Berkovski | A. Giussani D. Jokisch C.H. Kim R. Leggett J. Li | T. Sato T. Smith A. Ulanowski F. Wissmann |
| --- | --- | --- |
| E. Blanchardon | N. Petoussi-Henss |  |

(2021–2025)

| F. Bochud (Chair) F. Paquet (Vice-chair) | A. Giussani D. Jokisch | J. Li J.W. Marsh |
| --- | --- | --- |
| M. Antonia Lopez (Secretary) | C.H. Kim | N. Petoussi-Henss |
| M. Andersson V. Berkovski | M.S. Kulkarni S. Lamart | T. Sato T. Smith |
| D. de Souza Santos | C. Lee | A. Ulanowski |

Committee 2 emeritus members

| K. Eckerman |  |  |
| --- | --- | --- |

Committee 3 during the preparation of this publication

(2017–2021)

| K. Applegate (Chair) | S. Demeter | C. Ruebe |
| --- | --- | --- |
| C.J. Martin (Vice-Chair) | M. Hosono | W. Small |
| M. Rehani (Secretary) | K. Kang | D. G Sutton |
| J. Alsuwaidi | R. Loose | L. Van Bladel |
| M. Bourguignon | J. Marti-Clement |  |
| M-C. Cantone | Y. Niu |  |

(2021–2025)

| K. Applegate (Chair) | A. Isambert | C. Ruebe |
| --- | --- | --- |
| C.J. Martin (Vice-Chair) | M. Kortesniemi | W. Small |
| D.G. Sutton (Secretary) | A. Magistrelli | Å Søvik |
| M-C. Cantone | M. Mahesh | I. Thierry-Chef |
| J. Damilakis | J. Marti-Clement | I. Williams |
| M. Hosono | J.C. Paeng | W. Zhuo |

Committee 3 emeritus members

S. Mattsson			M.M. Rehani			M. Rosenstein

Main Commission members at the time of approval of this publication

Chair: W. Rühm, Germany

Vice-Chair: S. Bouffler, UK

Scientific Secretary: C.H. Clement, Canada; sci.sec@icrp.org*

K.E. Applegate, USA		D. Laurier, France		Emeritus members

F. Bochud, Switzerland	S. Liu, China			R.H. Clarke, UK

K.W. Cho, Korea		S. Romanov, Russia		C. Cousins, UK

G. Hirth, Australia		T. Schneider, France		J. Lochard, France

M. Kai, Japan			A. Wojcik, Sweden		F.A. Mettler Jr, USA

R.J. Pentreath, UK

R.J. Preston, USA

C. Streffer, Germany

E. Vañó, Spain

*Although formally not a Main Commission member since 1988, the Scientific Secretary is an integral part of the Main Commission.